## Abstracts from the 28th Annual International Atrial Fibrillation Symposium, February 2-4, 202

Corresponding Author: E. Heist

KHEIST@mgh.harvard.edu

AFS2023-01 to AFS2023-05: Late Breaking Clinical Trials and First Report Clinical Investigations

AFS2023-01

Abstract Title: Pulmonary Vein Isolation of Paroxysmal Atrial Fibrillation with Multielectrode Radiofrequency Balloon Catheter: Results From the Global, Multicenter, STELLAR Study

Author: Sandeep K Goyal, MD

Co-Author(s):

Carlo Pappone, MD, PhD

Massimo Grimaldi, MD

Sung Lee, MD

Stavros Mountantonakis, MD

J. Brian DeVille, MD

Venkata Sagi, MD

Chen-Yang Jiang, PhD

Haseeb Jafri, MD

Alan Wimmer, MD

Li-Qun Wu, PhD

Srinivas Dukkipati, MD

Haroon Rashid, MD

Hugh Calkins, MD

Moussa Mansour, MD

Javier Roman-Gonzalez, MD

Andrea Natale, MD

Arash Aryana, MD

Piedmont Heart Institute

Buckhead-275 Collier RD NW, Suite 500

Introduction | Objectives:

Safety and efficacy of paroxysmal AF (PAF) ablation with the HELIOSTAR multielectrode RF balloon catheter (Figure) have been demonstrated in European studies, but data from the rest of the world are lacking. This prospective, multicenter study conducted in the US, Italy and China investigated safety and efficacy of pulmonary vein isolation (PVI) using the HELIOSTAR catheter in drug refractory symptomatic PAF.

Methods: Primary effectiveness endpoint (PEE) was 12-month freedom from any documented atrial arrhythmia plus freedom from acute procedural failure, non-study catheter failure, repeat ablation failure, direct-current cardioversion and Class I/III antiarrhythmic drugs failure. Primary safety endpoint was incidence of early-onset primary adverse events (PAE). Cerebral MRI and a follow-up cardiac CT were performed in a patient subset.

Results:

Across 36 centers, 260 subjects were enrolled, had the catheter inserted and underwent PVI. Of these, 257 met eligibility criteria, while 238 had RF delivered without major protocol deviation. Acute PVI was achieved in 98.8% of subjects, and in 93.0% without additional use of focal catheters. Total procedure, left atrial balloon dwell, and fluoroscopy times were 116±36, 60.0±25.8, and 13.2±8.8 min. The PEE and freedom from repeat ablation were 67.7% and 91.5%; clinical success (freedom from symptomatic recurrence) was 76.6%. Incidence of PAE was 5.10%, consisting of hospitalization (4), major vascular access complication/bleeding (2), phrenic nerve paralysis (2), pericarditis (1), severe PV stenosis (1), transient ischemic attack (1), stroke/cerebrovascular accident (1), and death due to bronchial fistula (1). One of 15 (6.7%) subjects undergoing MRI had a silent cerebral lesion at 1-month (resolved at 3 months). Clinically meaningful improvements in AFEQT scores were seen as early as 3 months.

Conclusions:

Results from STELLAR study confirmed safety and efficacy of HELIOSTAR catheter for PVI in drug refractory symptomatic PAF patients with clinically meaningful improvements in quality of life. Majority of PVIs were achieved without needing focal touch up, and >90% of patients were free from repeat ablation at 12 months.

AFS2023-01
Uploaded File(s)

The HELIOSTAR multi-electrode RF balloon catheter visualized using an electroanatomical mapping system

AFS2023-02

Abstract Title: Paroxysmal AF Ablation Using a Variable-Loop Pulsed Field Ablation Catheter Integrated with a 3D Mapping System: One-Year Outcomes from inspIRE

Author: Vivek Reddy, MD

Co-Author(s):

Tom De Potter, MD - OLV Hospital

Massimo Grimaldi, MD - Ospedale Generale Regionale "F. Miulli" UOC Cardiologia

Ante Anic, MD - University Hospital Center Split

Johan Vijgen, MD - Virga Jessa Ziekenhuis

Petr Neuzil, MD - Na Homolce Hospital

Hugo Van Herendael, MD - Ziekenhuis Oost – Limburg Campus

Atul Verma, MD - Southlake Regional Health Centre

Allan Skanes, MD - London Health Sciences Centre

Daniel Scherr, MD - Medical University Graz

Helmut Purerfellner, MD - Ordensklinikum Linz GmbH /Elisabethinen Fadingerstraße

Gediminas Račkauskas, MD - Vilnius University Hospital Santaros Clinic, Vilnius University

Pierre Jais, MD - IHU LIRYC, Univ.BordeauxCentre Hospitalier Universitaire ( CHU ) de Bordeaux (Main)

Mattias Duytschaever, MD, PhD - AZ Sint Jan

Icahn School of Medicine at Mount Sinai

One Gustave L Levy Place Box 1030 New York, NY 10029, US

Introduction | Objectives:
The inspIRE study (NCT04524364) evaluated the safety and efficacy of a fully integrated biphasic pulsed field ablation (PFA) system with a variable loop circular catheter (VLCC) for treating drug-refractory paroxysmal AF.

Methods:
The feasibility Wave I phase assessed initial safety with systematic imaging for esophageal lesions, silent cerebral lesions (SCL), and PV stenosis. The pivotal Wave II phase tested primary safety and 12-month (M) efficacy endpoints. After PV isolation (PVI) with the PFA system (Figure), adenosine/isoproterenol was administered to confirm entrance block. Primary safety included all early onset primary adverse events (PAEs). Primary efficacy was 12M freedom from atrial arrhythmias (AF/AT/AFL) and acute PVI failure. Stringent arrhythmia assessments included weekly-monthly transtelephonic monitoring. An adaptive design specified an interim analysis to determine early success (if endpoints were met) once all participants (pts) reached 3M follow-up (FU) and 30 pts reached 12M.

Results:
Across 13 centers in Europe/Canada, 226 pts were enrolled: Wave I-40, Wave II-186. In Wave I, there were no esophageal thermal lesions, PV stenosis, or coronary spasm. Among 39 pts with MRI, 4 SCLs were detected in the first 6 pts, after which a 10s pause between PFA applications was implemented, followed by only 4 SCLs in the remaining 33 pts. In Wave II, an independent Data Monitoring Committee declared early success after 186-pt enrollment and 60 pts completing 12M FU. No PAEs were reported (0%). With 100% entrance block, PVI without acute reconnection was achieved in 97.1% of targeted veins. Primary efficacy was achieved in 70.9% (99.5% CI: 59.6%, 82.2%), 12M freedom from symptomatic AF/AFL/AT recurrence and repeat ablation was 78.9% (95% CI: 71.9%, 85.9%) and 92.3%, respectively. Total procedure, LA dwell, transpired PFA, and fluoroscopy times were 70.1 ± 27.7, 44.7±20.7, 26.7 ± 14.0, and 7.8 ± 7.0 min, respectively.

Conclusions:
The inspIRE trial achieved early success at the pre-specified interim analysis, meeting both primary safety and efficacy endpoints. Together, these data confirm the safety and effectiveness of the novel, mapping-integrated, variable-loop catheter PFA system.

AFS2023-02
Uploaded File(s)

Figure. (A) The VLLC (B) The VLLC as visualized under the 3D mapping system (C) Post-ablation voltage map showing level of isolation (red) for the PVs.

AFS2023-03

Abstract Title: FLOW-AF: A Randomized Controlled Trial of Electrographic Flow-Guided Ablation in Redo Patients with Non-Paroxysmal Atrial Fibrillation

Author: Vivek Reddy, MD

Co-Author(s):

Petr Neuzil, M.D

Anke Langbein, M.D

Jan Petru, M.D

Moritoshi Funasako, M.D

Leon Dinshaw, M.D

Sip Wijchers, M.D

Rohit Bhagwandien, M.D

Andreas Rilling, M.D

Stefan Spitzer, M.D

Andreas Metzner, M.D

Melissa Kong, M.D

Tams Szili-Torok, M.D, PhD

Icahn School of Medicine at Mount Sinai

One Gustave L Levy Place Box 1030 New York, NY 10029, US

Introduction | Objectives:

Electrographic Flow (EGF) mapping enables full spatiotemporal reconstruction of organized wavefront propagation, to both identify active AF sources and estimate the consistency of observed wavefront patterns.  FLOW-AF is a multicenter, randomized, controlled study to evaluate if EGF mapping can 1) stratify a redo population of patients with non-paroxysmal AF by identifying extra-PV sources of AF, and 2) guide ablation of these sources.

Methods:

FLOW-AF (NCT04473963) prospectively enrolled AF patients undergoing redo ablation at 4 centers.  Serial EGF maps were obtained over 1-min recordings from multiple standardized basket positions in both atria.  Patients with source activity ≥ 26.5% were randomized 1:1 to PVI + EGF-guided ablation vs control (PVI-only).  If randomized to EGF-guided ablation, identified sources were ablated until below threshold.  Patients with no sources > threshold were not randomized, and received standard ablation, primarily PVI-only.  Clinical follow-up and EKG monitoring was performed at 3, 6 and 12 months.

Results:

In total, 85 AF patients were enrolled: age 65.6±9.3 yrs; 37% female; mean LA diameter 4.4±0.6cm; mean AF duration 32.5±30.8 mo.  Thirty-four (40%) patients had no sources while 46 (60%) had at least 1 source > threshold.  Patients with sources were older (62.6 v. 68.2 yrs, p=0.005) with higher CHA2DS2-VASc score (1.9 v. 2.8, p=0.001) compared with patients without sources.  Primary safety endpoint (freedom from procedure-related serious adverse events at 7 days) was achieved in 97.2%.  Primary efficacy endpoint was achieved with successful ablation (defined as eliminated upon post-ablation EGF-mapping) of 95% of identified sources randomized to EGF-guided ablation.  Among randomized patients, freedom from AF at 12 mo was 68% for EGF-guided ablation v. 17% for Control (p=0.04); freedom from AF/AT/AFL at 12 mo was 51% vs 14% (p=0.10), respectively.

Conclusions:

In a difficult-to-treat redo population of non-paroxysmal AF patients: 1) EGF mapping identified sources in 60% of the cohort; and 2) PVI + source ablation improves AF free survival at 1 year v. PVI-alone.  Larger studies are warranted to assess if EGF-based ablation improves freedom from AF/AT/AFL.

AFS2023-03
Uploaded File(s)

AFS2023-04

Abstract Title: AF Ablation Using a Novel “Single-Shot” Map-and-Ablate Spherical Array Pulsed Field Ablation Catheter: Impact of Application Repetition on Durability of PV Isolation

Author: Vivek Reddy, MD

Co-Author(s):

MOHIT TURAGAM, M.D

Jan Petru, M.D

Moritoshi Funasako, M.D

Jacob Koruth, M.D

jan Skoda, M.D

Stepan Kralovec, M.D

Petr Neuzil, M.D

Icahn School of Medicine at Mount Sinai

One Gustave L Levy Place Box 1030 New York, NY 10029, US

Introduction | Objectives:
Preclinical studies have revealed that PFA i) exhibits repetition dependency-lesion dimensions increase with consecutive applications, and ii) electrode-tissue proximity (ideally contact) improves lesion quality. Whether durability of pulmonary vein isolation (PVI) is predicated on repetitive PFA applications is unknown. Using a “single-shot” map-and-ablate spherical multielectrode array PFA catheter (Globe; Kardium Inc.) that is able to verify electrode-tissue contact, we compared single vs repetitive PF applications on PVI durability.

Methods:
AF pts underwent PVI using the spherical array PFA catheter with a deflectable 16Fr transeptal sheath, under general anesthesia and ICE-guidance. The custom mapping system was used with the PFA catheter to render LA anatomy and voltage. The spherical array was positioned at each PV ostia for PFA (1.7kV/lesion, ungated, microsecond-scale pulses). Follow up was: post-procedure EGD and brain MRI within 1 d, and invasive remapping at ⁓2 mo.

Results:

A total of 59 pts (age 61±11 yrs; M/F 45%/55%; LA 43.6±4.9 mm; LVEF 60.0±8.2%) underwent PVI. In Group 1 (11 pts; 1 application/PV), PVI was acutely successful in 43 of 43 (100%) PVs. In Group 2 (48 pts; 3 applications/PV;), PVI was acutely successful in 187 of 187 (100%) PVs. While the pulse delivery time (24.5±5.5 vs 58.7±7.5 sec) was longer in Group 2, the LA catheter dwell time (50.8 ± 6.5 vs 43.8±10.1 min) and procedure times (93.7 ± 18.5 vs 72.3 ± 18.3 mins) were shorter with Group 2. There was no stroke/TIA, pericardial effusion, phrenic nerve injury, or esophageal complications. One patient had pericarditis in Group 2, responsive to drugs. EGD was normal in 37 of 37 pts. Brain MRI revealed silent cerebral lesions (DWI+/FLAIR-) in 18.8% (3/16) patients. PV remapping revealed durable PVI in 62.5% PVs in Group 1 (n=10 pts), compared with all 100% PVs in in Group2 (n=15 pts); this translates to all PVs being durably isolated in 30% vs 100% (p< 0.05) of pts in Group1 and Group2. (Figure)

Conclusions:

In first-in-human studies, the “single-shot” spherical array PFA catheter can safely achieve excellent durability, provided that repetitive PF applications are placed for lesion consolidation.

LBCT-AFS2023-04
Uploaded File(s)

AFS2023-05

Abstract Title: AcQForce Flutter Trial Clinical Results: Force Sensing RF Ablation with Low Flow Gold Tip Catheter for Typical Flutter

Author: Gery Tomassoni, MD

Co-Author(s):

Lea Melki, PhD

Karen Stephens, RN

Carleton Nibley, MD

Charles Athill, MD

Johan Vijgen, MD

Dilesh Patel, MD

James Ip, MD

Bruno Schwagten, MD

Omar Kahaly, MD

Sarah Hussain, MD

Usman Siddiqui, MD

Devi Nair, MD

Craig Moskowitz, MD

Moloy Das, MD

Simon James, MD

Dhanunjaya Lakkireddy, MD

Matthew Bernabei, MD

Daniel Masvidal, MD

Vaibhav Moondra, MD

Sean Beinart, MD

Zayd Eldadah, MD

Mark Marieb, MD

Steven Markowitz, MD

Aneesh Tolat, MD

Vijay Swarup, MD

Baptist Lexington Medical Center

1740 Nicholasville Road Lexington, KY 40503

Introduction | Objectives:
Radiofrequency ablation (RFA) is first line therapy for cavotricuspid isthmus (CTI) dependent right atrial flutter (AFL). Achieving lesion durability and transmurality is crucial for therapy success. Studies suggest that the superior thermal conduction properties of gold may result in deeper, broader lesions with efficient catheter cooling. The AcQForce Flutter study (NCT04658940) was designed to evaluate safety and effectiveness of a novel 3.5 mm gold tip force sensing RFA catheter to treat CTI AFL.

Methods:
The AcQForce AFL trial was a prospective multicenter (20 US, 2 UK, 2 EU) nonrandomized study in patients presenting for de novo CTI ablation. The investigational system consisted of the AcQBlate FORCETM sensing ablation catheter & Qubic ForceTM module (Acutus Medical, USA) with QionaTM irrigation pump & Qubic RFTM generator (BIOTRONIK, Germany). Catheter navigation was achieved with fluoroscopy or mapping (AcQMapTM, Acutus Medical, USA or EnsiteTM, Abbott, USA). RFA was delivered using drag or focal ablation technique per investigator discretion. Primary endpoints were acute procedural success (APS) defined as bidirectional CTI block (BDB) at 20 min post RFA and freedom from serious adverse events (SAEs) 7 days post procedure.

Results:
The investigational catheter was inserted in 115 enrolled patients and 110 patients underwent RFA. Mean age was 68 ± 10 yrs, 77% male, BMI of 30 ± 5 and baseline antiarrhythmic drug use at 8%. APS was met in 94% of subjects with a total procedure time of 90 ± 39 min. In 6% of cases, APS was not met due to inability to obtain BDB (3%) or procedure abandoned by investigator (3%). Freedom from device related SAEs was 100%. 24 + 23 RF applications were delivered resulting in an ablation duration of 13.5 + 10 min and an irrigation volume of 250 + 172 ml. Post hoc comparison against BLOCk-CTI investigational and control cohorts showed significant decreases in ablation duration (p< 0.005) and irrigation volume (p< 0.005) Table 1.

Conclusions:
The AcQBlate FORCE system safely and effectively ablated CTI dependent AFL. APS endpoints were obtained in 94% (103/110) of cases with no observed SAEs. Comparable outcomes to historic controls were achieved with significantly shorter ablation time and lower fluid volumes.

AFS2023-05
Uploaded File(s)

AcQForce Flutter Trial Clinical Results: Force Sensing RF Ablation with Low Flow Gold Tip Catheter for Typical Flutter

Best Abstract Award

AFS2023-06

Abstract Title: Very Long-Term Outcome of Atrial Fibrillation Ablation

Author: Roger A. Winkle, MD

Co-Author(s):

Chad Brodt, MD

Gregory Engel, MD

Shadi Kalantarian, MPH, MD

Melissa Kong, MD

R. Hardwin Mead, MD

Rob Patrawala, MD

Jonathan Salcedo, MD

Sutter Health, Palo Alto Medical Foundation, Silicon Valley Cardiology

1950 University Circle Suite 160 E. Palo Alto, CA 94303

Introduction | Objectives:
Ablation has become standard therapy for atrial fibrillation, and little is known about its very long-term durability.

Methods:
We followed 5200 consecutive patients undergoing 7140 AF ablations from 10/03 to 12/21. 149 (2.9%) pts were lost to FU. We evaluated long-term freedom from AF after single and multiple ablations for paroxysmal(PAF)(1786 pts,34.3%), persistent(PerAF)(2935 pts,54.4%) and long-standing(LsAF)(516 pts,9.9%) AF. We determined predictors of freedom from AF. To evaluate improvement in outcomes over time, we compared 3 ablation eras: an early cohort(108 pts) using a solid big tip(SBT) catheter(10/03-12/05), a cohort(2143 pts) using an open irrigated tip(OIT) catheter(12/05-8/16) and a contemporary cohort(2956 pts) using contact force(CF) catheters(3/14-12/21). HPSD was used since mid-2006.

Results:
For the entire cohort, freedom from AF after one procedure at 5, 10 and 15 yrs was: PAF(67.8%,56.3%,47.6%), PerAF(46.6%,35.6%,26.5%), LsAF(30.4%,18.0%,3.4%). After final ablation the 5, 10 and 15 yrs numbers were: PAF(80.3%,72.6%,62.5%), PerAF(60.1%,50.2%,42.5%), LsAF(43.4%,32.0%,20.6%). For PAF and PerAF, CF ablations were better than OIT(P< 0.0001) and both were better than SBT(P< 0.001). However, for LsAF there was no difference(P=NS) in outcome for the 3 catheter types. The 8 year freedom from AF after final ablation for the CF, OIT and SBT catheters was: PAF(79.1%,71.8%,60.0%), PerAF (55.9%,50.7%,38.0%), LsAF(42.7%,36.2%,31.8%). The greatest AF recurrence was in the first 2 yrs after both initial and final ablation with a year 2 thru 15 a linear decline of about 2%/yr for all AF types.  Multivariate predictors of success after both initial and final ablations were smaller LA size, shorter AF duration, male gender, less persistent AF type, lower CHA2DS2VASc score, fewer #drugs failed and more recent catheter era.

Conclusions:
Starting 2 yrs after initial and final AF ablation there is a nearly linear 2%/yr recurrence rate for all types of AF.  Ablation success is best in the CF era, intermediate in the OIT era and worst in the SBT era.  Over the 3 ablation eras, outcomes improved for PAF and PerAF but not for LsAF.  Patients should be followed indefinitely for recurrence after AF ablation and we need a better understanding of how to better ablate more persistent AF.

AFS2023-06
Uploaded File(s)

Entire Cohort Freedom from AF by AF type

ABSTRACTS: AFS2023-07 to AFS2023-51

AFS2023-07

Abstract Title: Early clinical experience with a zero-exchange technique for LAAC using the VersaCross Connect system

Author: Amin Al-Ahmad, MD

Co-Author(s):

Carola Gianni, MD, PHD

David Tschopp, MD

Rodney Horton, MD

Andrea Natale, MD

Texas Cardiac Arrhythmia

3000 IH N 35, Suite 700

Introduction | Objectives:
Zero-exchange LAAC presents improvements to procedural and lab efficiency, and may reduce risks of injury and introducing thrombus or air into the LA. The new VersaCross Connect LAAC Access Solution (VCC; Baylis) is composed of a RF wire and integrated dilator that allows TSP directly through the WATCHMAN FXD sheath (WMS; Boston Scientific) for zero-exchange LAAC. We report a single-center multi-operator early experience with zero-exchange LAAC using VCC and WMS.

Methods:

LAAC cases with VCC (Sep 2022-Nov 2022) were retrospectively reviewed for procedure times, fluoroscopy use, and complications. Procedures were guided by fluoroscopy, and TEE or ICE. Heparin was administered at groin access. The shapeable VCC dilator was used to optimize the curve of the WATCHMAN sheath for TSP. WMS and VCC dilator were advanced over the VersaCross pigtail wire; the assembly was torqued during dropdown to perform mid or low-anterior TSP. The pigtail wire was then used to access and estimate LAA size. Contrast was injected directly through WMS for LAA angiogram (Fig. 1).

Results:
A total of 25 consecutive cases were performed using a zero-exchange workflow. TSP and LAAC were both 96% successful, which included one bailout to the standard 8.5F VersaCross system due to anatomy < ![if !supportAnnotations] >[RE1]< ![endif] > and one failure for LAAC due to bilateral LAA enlargement. Patients with prior TSP were 28% of cases. LAA morphology was 16% cauliflower, 36% chicken wing, 32% cactus and 16% windsock. Time to TSP was 3.7± 3.0 mins from RF wire insertion or 15.6± 6.8 min from femoral access. Entry of WMS into the LA was achieved within 0.5 ± 0.6 min of TSP. Time to WATCHMAN release was 13.2 ± 4.9 min from TSP or 28.6 ± 9.7 min from femoral access. Fluoroscopy time and dose were 7.2 ± 5.5 min and 282.0 ± 274.4 mGy, respectively, with 57.8 ± 25.4 ml of contrast use. There were no procedural complications aside from a gross hematuria that resolved without intervention.

Conclusions:

Safety and effectiveness were demonstrated in our first cases using the VCC system. Two adjustments from standard workflows may be necessary: 1) early heparin dosing before TSP, and 2) torquing to clock the WATCHMAN sheath during dropdown to land at the desired TSP site. Further experience and work are needed to quantify the improvements in efficiency.

AFS2023-07
Uploaded File(s)

AFS2023-08

Abstract Title: 1-year recurrence in patients with paroxysmal atrial fibrillation undergoing pulmonary vein isolation using cryoballoon vs X3 laser balloon ablation

Author: Mahmoud Ali, MD

Co-Author(s):

Dorota Magdon, MD

Abdulghani Mounir, MD

Andy Kieu, MD

Abdullah Malik, MD

Tarek Ajam, MD

Mohammed Premjee, MD

Lynn Erickson, MS

James Adefisoye, MS

Jim Kanani, MPH

Arshad Jahangir, MD

M. Eyman Mortada, MD

Imran Niazi, MD

Atul Bhatia, MD

Aurora Sinai/Aurora St. Luke's Medical Centers, Advocate Aurora Health

2801 West Kinnickinnic River Pkwy, Suite 880, Milwaukee, WI 53215

Introduction | Objectives:

Atrial fibrillation (AF) is the most common arrhythmia. Pulmonary vein isolation (PVI) is effective for patients with drug-refractory symptomatic paroxysmal AF. We aimed to compare the outcomes between cryoballoon and X3 laser balloon ablation for these patients.

Methods:

Paroxysmal AF patients (n=188) with no prior ablation underwent PVI only using either cryoballoon (n=111) or X3 laser balloon (n=77) ablation. Demographics, medical history, procedure details, and 1-year outcomes, including left-sided arrhythmia recurrence up to one year, were collected. Pulmonary vein entrance and exit blocks were verified in both groups. Recurrence was defined as >30 seconds of AF, atrial flutter, or atrial tachycardia after a 3-month blanking period. Electrocardiograms or event monitors were used for arrhythmia detection. In the overall cohort, there was a median (Q1-Q3) age (years) [63 (56-67)], body mass index (kg/m2) [31.7 (27-36)], and CHA2DS2-VASc score [2 (1-3)].

Results:

Baseline characteristics, including sex, race, and presence of diabetes, heart failure, and hypertension, were similar. Left atrial volume index (ml/m2) was significantly lower in the cryoballoon group [31.2 (23.6-38.9)] vs the laser group [34.2(27.3-44.35)], p = .022. Cryoballoon ablation patients had a higher stroke history compared to the laser ablation group (13.5% vs 2.6%, respectively, p = .010). Median fluoroscopy time (minutes) was significantly lower in laser balloon ablation [24.1 (16.5-35.4)] vs cryoballoon ablation [32.6 (21.9-46.3)], p < .001. (Fig A). Median procedure time (minutes) was significantly lower in laser balloon [141 (122-174)] vs cryoballoon ablation [212(186-256)], p < .001) (Fig B). There was no significant difference in 1-year arrhythmia-free survival between cryoballoon (78.7%) vs laser balloon (77.9%), p = .965) (Fig C).

Conclusions:

In our retrospective study, patients with paroxysmal AF who underwent PVI only with X3 laser balloon had significantly lower fluoroscopy and procedure time than those who underwent PVI using the cryoballoon. There was no difference in 1-year arrhythmia-free survival between the groups.

AFS2023-08
Uploaded File(s)

Figure A: Median fluoroscopy time. Figure B: Median procedure time. Figure C: Kaplan-Meier curves showing 1-year arrhythmia-free survival.

AFS2023-09

Abstract Title: Healthcare Utilization and Costs in Patients with Atrial Fibrillation After Hybrid Ablation

Author: Anish K. Amin, MD

Co-Author(s):

Sreedkar Billakanty, MD - OhioHealth Riverside Methodist Hospital

Michael Manocchia, PhD - Braid-Forbes Health Research

Mary Jo Braid-Forbes, MPH - Braid-Forbes Health Research

Michelle McCrea, MS - Braid-Forbes Health Research

Randall Lee, MD, PhD - AtriCure

Jim Kerins, MBA - AtriCure

Michael Ferguson, PhD - AtriCure

OhioHealth Riverside Methodist Hospital

OhioHealth Heart and Vascular Physicians 3705 Olentangy River Rd Ste 100, Columbus, OH 43214

Introduction | Objectives:

Hybrid epicardial with endocadardial ablation is an effective treatment for Atrial Fibrillation (AF). Less is known regarding healthcare utilization after hybrid ablation. The objective of this study was to assess healthcare use and cost among Medicare aged AF patients before and after hybrid ablation treatment.

Methods:
Medicare SAF files were used to assess AF patients treated between 2016-2018. Hybrid ablation patients were evaluated (ICD-10, CPT® codes) 1‐year pre‐ and 2-year post ablation for inpatient admissions, hospital length of stay, emergency department (ED) visits, cardioversions, catheter ablations, and hospital costs (in/outpatient per member per month, PMPM).

Results:

472 patients (CHA₂DS₂-VASc score 3.4) with paroxysmal and non-paroxysmal AF were included. Compared to pre-treatment, resource used decreased at 2 yr for hospital admissions (50%, p< 0.0001), ED visits (38%, p< 0.0001), cardioversions (84%, p< 0.0001), and catheter ablations (46%, p< 0.0049).  Primary AF admissions decreased by 79%. Total hospital costs were reduced by 11% per patient (-$119, PMPM; p< 0.001), including both in/outpatient settings. Older age was associated with increased healthcare costs.

Conclusions:
Hybrid ablation for AF reduced post procedure healthcare utilization and costs compared to pre-treatment, and appears to be an effective healthcare spend.

AFS2023-09
Uploaded File(s)

Healthcare Resource Use Before and After Hybrid Ablation

AFS2023-10

Abstract Title: Outcome of Atrial Fibrillation Ablation on Patients with Protein Energy Undernutrition, A Nationwide Analysis

Author: joseph amoah, MD

Co-Author(s):

sammir Dekowski, MD - Resident, Newark Beth Israel Medical Center

Michael Fatuyi, MD - Resident, Trihealth

Sara Noureldin, MD - Resident, University Hospitals

University Hospitals

13207 Ravenna Rd, Chardon, OH 44024

Introduction | Objectives:

Atrial Fibrillation (AF) is the most common type of cardiac arrhythmia. It is associated with multiple adverse outcome like stroke, myocardial infarction and mortality. We have noticed increased atrial fibrillation ablation due to multiple clinical trials establishing the superiority of catheter ablation over antiarrhythmic drugs. However, there is scarce data on the outcome of ablation in patients with a history of Protein Energy Undernutrition (PEU)

Methods:

Using the 2019 National Inpatient Sample Database, retrospective data of patients with a history of PEU who underwent AF ablation was identified using ICD-10 CODES. Outcomes were in-hospital mortality, acute kidney injury, CVA, deep vein thrombosis, pulmonary embolism, cardiogenic shock, pericarditis, pericardial effusion, endocarditis, sepsis, post procedure hemorrhage of a circulatory system organ or structure, total hospital charges, and hospital length of stay in patients between groups (Patients with Protein Energy Undernutrition and Patients without Protein Energy Undernutrition)

Results:

21,500 patients who underwent AF ablation. of those, 2% had a history of PEU. Patients with PEU were older (mean age 75.8, 95% CI 73.7-77.9 vs 68.5, 95% CI 68.1-69). There was an increased hospital mortality in the PEU group(p=0.0009) which was statistically significant. There was also an increased rate of acute kidney injury (p< 0.0001), cardiogenic shock (p=0.0012), endocarditis (p=0.014), and sepsis (p< 0.0001). However, there was no difference in post-procedure hemorrhage of circulatory system organ (p=0.8827), pericarditis (p=0.5758), pericardial effusion (p=0.5256), deep vein thrombosis (p=0.7881), pulmonary embolism (p=0.1383) and CVA(p=0.9784). Patients with Protein Energy Undernutrition had an increase in length of hospital stay (10.7 days, 95% CI 8.6-12.7 vs 4 days, 95% CI 3.8-4.2) and hospital charges ($ 236712, 95% CI, $187553.3- $285870.8 vs $ 169851.8, 95 CI, $161204.4 -$178499.2).

Conclusions:

Per the study, when compared to the general population who undergo atrial fibrillation ablation, patients with Protein Energy Malnutrition had an increased risk of hospital mortality, acute kidney injury, cardiogenic shock, endocarditis, and sepsis. Overall, patients with atrial fibrillation stayed in the hospital longer and had higher hospital charges.

AFS2023-10
Uploaded File(s)

AFS2023-11

Abstract Title: July Effect: Impact of Academic Year Transition On Patients Admitted For Atrial Fibrillation

Author: joseph amoah, MD

Co-Author(s):

sammir Dekowski, MD - Resident, Newark Beth Israel Medical Center

Sara Noureldin, MD - Resident, University Hospitals

Michael Fatuyi, MD - Resident, Trihealth

University Hospitals

13207 Ravenna Rd, Chardon, OH 44024

Introduction | Objectives:

There is an assumed association between healthcare errors and the transition of new residents during the first portion of the academic year known as “THE JULY EFFECT”.  This evaluation compares patients admitted to the hospital for atrial fibrillation during the first quarter of the academic year in Teaching and Non-Teaching hospitals.

Methods:

Using the National Inpatient Database of 2019, retrospective data of patients admitted for atrial fibrillation was identified using ICD-10 codes. Outcomes were atrial fibrillation ablation, post procedure complication, restoration of cardiac rhythm, pacemaker implantation, heart failure. anti-arrhythmic agents use, length of stay and hospital charges between groups. (Patients admitted to teaching hospital from July-September and Patients admitted to non-teaching hospital from July-September)

Results:

Of 103,455 patients who were admitted for atrial fibrillation during the months of July to September, 70.4% were admitted to teaching hospitals. Patients admitted at teaching hospitals were slightly younger than those admitted to non-teaching hospitals (71 years old, 95% CI 70.7-71.2 vs 72 years old, 95% CI 71.3-72.0). There was no difference in hospital mortality (p= 0.6959), Heart failure (p= 0.0936), antiarrhythmic agents use (p=0.3237), and length of stay at hospitals (3.25 days, 95% CI 3.19-3.32 vs 3.07 days, 95% CI 2.99- 3.15). There was an increased rate of atrial fibrillation ablation (p< 0.0001), post-procedure complication (p=0.0120), return of cardiac rhythm (p< 0.0001), cardiogenic shock (p=0.0057) and pacemaker implantation (p= 0.0063) among patient admitted to teaching hospitals. Patients at teaching hospitals also had increased total hospital charges ($ 54434.4, 95% CI $ 52153.39-$56715.41 vs $ 37167, 95% CI $ 35193.39-$39142.32)

Conclusions:

This study shows that during the first quarter of the academic year in teaching and non-teaching hospitals, there is no difference in hospital mortality rates for patients admitted for atrial fibrillation.However, there were increased rates of atrial fibrillation ablations, return of normal cardiac rhythm, and hospital charges in teaching hospitals.

AFS2023-11
Uploaded File(s)

AFS2023-12

Abstract Title: Pulsed Field Ablation using a novel configurable catheter with Coherent Sine Burst Electroporation: Case study and acute clinical outcomes for treatment of persistent AF with long linear lesions

Author: Ante Anic, MD

Co-Author(s):

Melvin Lorenzo, PhD - Senior Preclinical Scientist, Arga Medtech

Mark Zurcher, MS - Sr. Principal System Architect, Arga Medtech

Micah Lee, BS - Director of R&D, Arga Medtech

Ricardo Roman, BS - Manager, Engineering-Advanced Development, Arga Medtech

David Neale, MS, MBA - CEO, Arga Medtech

Randy Werneth, MS - CTO, Arga Medtech

Kurt Hoffmayer, MD, PharmD - Associate Clinical Professor, UC San Diego

Mehdi Razavi, MD - Associate Professor, Texas Heart Institute/Baylor College of Medicine

Giorgi Papiashvili, MD, PhD - Head of Arrhythmology, Healthycore-Israeli-Georgian Multiprofile Medical Center

University Hospital Center Split

Spinčićeva ul. 1, 21000, Split, Croatia

Introduction | Objectives:
Patients with persistent atrial fibrillation (PersAF) may benefit from a combination of pulmonary vein isolation (PVI), posterior wall isolation (PWI), and cavo-tricuspid isthmus (CTI) ablation. Coherent Sine Burst Electroporation (CSE) is a novel pulsed field ablation (PFA) platform that uses phased sine waves delivered via a configurable ablation catheter that can make circular, focal, and linear lesions. Objective: Investigate acute safety and efficacy using CSE to create long-linear lesions for PWI and CTI ablation.

Methods:
BURST-AF is a first-in-human, multicenter, single-arm trial of paroxysmal AF and PersAF ablation (NCT05572047). CSE was delivered with standard-energy (2400–2900V) and high-energy (3000–3500V) protocols using the 7F CSE Ablation Catheter. In the linear configuration, the catheter can produce lesions >55 mm in length for a single application. Under general anesthesia, intracardiac echocardiography (ICE)-guided transseptal puncture was performed and the catheter was guided using an 8.5F deflectable sheath. Following acute PVI and guided by fluoroscopy, ICE and 3D mapping, a superior line (one 8-electrode and one 4-electrode lesion) and an inferior line (one 8-electrode lesion) were used to complete PWI. CTI linear ablation used 4-electrodes, a ground patch, and high-energy bipolar/unipolar phased CSE to achieve bi-directional block. Acute remapping was performed to confirm isolation. ICE was used to assess microbubble formation. Lesion durability will be assessed 60-days post procedure.

Results:
Acute safety was observed (age 59 yrs, Male, BMI 29.7) with no serious adverse events. First-pass acute electrical isolation was achieved for PW and bidirectional block for CTI. Timing from the first to the last lesion for PWI and CTI was 11 min and 4 min, respectively. Muscle stimulation was comparable to nominal respiratory movement for >3000V, and no microbubbles were observed in any protocol. Fluoro time was 17 min.

Conclusions:
CSE demonstrated acute safety and first-pass efficacy for PWI and CTI. CSE allows application of phased sine waves ( >3000V) with no microbubble formation and minimal to no muscle stimulation.

AFS2023-12
Uploaded File(s)

Pulsed Field Ablation using a novel multi-configurable catheter with Coherent Sine Burst Electroporation: Case study and acute clinical outcomes for treatment of persistent AF with long linear lesions

AFS2023-13

Abstract Title: High‐power short‐duration lesion index–guided posterior wall isolation on top of pulmonary vein isolation for persistent atrial fibrillation

Author: Sergio Conti, MD, PhD

Co-Author(s):

Francesco Sabatino, MD

Giuseppe Sgarito, MD, PhD

ARNAS Civico Hospital

Piazza Nicola Leotta, 4 - 90127

Introduction | Objectives:

High-power short-duration (HPSD) radiofrequency (RF) ablation has improved lesion durability in the treatment of atrial fibrillation (AF). However, few data evaluated the impact of HPSD when approaching extra-pulmonary veins (PVs) targets. We aimed to assess the safety, effectiveness, and acute outcomes of HPSD lesion index (LSI)-guided posterior wall isolation (PWI) on top of pulmonary vein isolation (PVI) as an initial treatment approach in persistent atrial fibrillation (Pe-AF).

Methods:

Thirty-five consecutive patients with Pe-AF who underwent HPSD ablation LSI-guided for PWI on top of PVI in our Centre between August 2021 and January 2022 were retrospectively enrolled. RF was set to 50W with target LSI values at ≥5 for the anterior PVs aspect and roofline and ≥4 for the posterior PVs aspect, bottom line, and within the posterior wall (PW). We compared the LSI values with and without acute conduction gaps after the initial first-pass PWI. Left atrial mapping was performed with the EnSite X mapping system and the multipolar Grid-shaped mapping catheter. We compared procedural characteristics using HPSD (n=35) vs. a control group (n=46).

Results:

PWI on top of PVI was achieved in all cases in the HPSD group. First-pass PVI was achieved in 93.3% of PVs (n=126/135). First-pass roofline block was obtained in most patients (n=31, 88.5%), while first-pass block of the bottom line was only achieved in 51.4% of patients (n=18). There were no significant differences compared to the control group: first-pass PVI was achieved in 94.9% of PVs (n=169/178), first-pass roofline block in 89.1%, and bottom-line in 45.6% of patients. To achieve complete PWI with HPSD, scattered RF applications within the PW were necessary. No electrical reconnection of the PW was found after adenosine administration. Procedure and RF time were significantly shorter in the HPSD group compared to the control group, 116.2 ± 10.9 vs. 144.5 ± 11.3 minutes, and 22.8 ± 3.6 vs. 42.3 ± 6.4 minutes, respectively, p < 0.001. Fluoroscopy time was comparable between both groups. No procedural complications were observed.

Conclusions:

HPSD LSI–guided PWI on top of PVI seems effective and safe. Compared to a control group, HPSD is associated with similar rates of first-pass PWI and PVI but with shorter procedural and RF time.

AFS2023-13
Uploaded File(s)

Posterior wall isolation using high-power short-duration

AFS2023-14

Abstract Title: Persistence of posterior wall isolation guided by ablation index evaluated during redo

Author: Sergio Conti, MD, PhD

Co-Author(s):

Francesco Sabatino, MD

giuseppe sgarito, MD, PhD

ARNAS Civico Hospital

Piazza Nicola Leotta, 4 - 90127

Introduction | Objectives:

The posterior wall of the left atrium (LA) is an arrhythmogenic substrate responsible for initiating and maintaining atrial fibrillation (AF). In addition to pulmonary vein isolation (PVI), posterior wall isolation (PWI) aims to eliminate AF triggers and drivers. However, ablation at the posterior wall of the LA using contiguous and optimized radiofrequency lesions remains challenging as continuous and effective lesion sets are necessary. Moreover, there are few data regarding the impact of the Ablation Index (AI) on the efficacy of PWI. Therefore, this study aimed to evaluate the persistence of PWI in patients with persistent AF who had an index procedure with PVI plus PWI AI-guided, now undergoing a redo.

Methods:

Between January and December 2021, forty-one patients with symptomatic drug‐ refractory persistent AF underwent PVI plus PWI guided by AI. The procedures were performed using the CARTO mapping system, SmartTouch SF ablation catheter, and the PentaRay mapping catheter. AI settings were 500‐550 for the anterior aspect of the PVs and the roofline, while 450‐500 for the posterior aspect of the PVs and the bottom line and/or PW lesions. All patients enrolled received an implantable loop recorder (ILR) before or at the ablation time unless they had a permanent pacemaker or an implantable cardioverter-defibrillator. After the blanking period, data from the implanted device were evaluated to evaluate the occurrence of atrial tachycardia (AT), atrial flutter (AFL), and AF episodes. A complete LA map using the PentaRay mapping catheter was performed during the redo to evaluate for PVs and PW reconnections.

Results:

Twenty-nine patients had no recurrence documented. Ten patients underwent redo: two cavotricuspid isthmus-dependent counterclockwise AFL, one clockwise AFL, one double-loop right AFL, one mitral isthmus-dependent AFL, one left septal microreentrant AFL, and one LAA AT. These arrhythmias were successfully ablated. In the AF cases, extensive LA ablations have been performed. In 90% of cases, the LA substrate map confirmed the persistence of PVI and PWI.

Conclusions:

PWI guided by AI, performed during the index procedure in addition to standard PVI, seems to be an effective approach to achieve persistent isolation.

AFS2023-15

Abstract Title: Increase in Catheter Ablation Procedure Volumes with Active Esophageal Cooling in an Integrated Care Hospital System

Author: Julie Cooper, MD

Co-Author(s):

Shirley Park, MD

Babette Brumback, PhD

Robert Hayward, MD

Christopher Joseph, BA

Archana Ramireddy, MD

Taresh Taneja, MD

Andrew Vu, MD

Erik Kulstad, MD, MS - Professor, UT Southwestern Medical Center

Taylor Liu, MD, PhD - Electrophysiologist, Kaiser Permanente

UT Southwestern Medical Center

5323 Harry Hines Blvd, Dallas, TX

Introduction | Objectives:
Recent data from a variety of healthcare systems show that procedure times for pulmonary vein isolation (PVI) are reduced when active esophageal cooling rather than luminal esophageal temperature (LET) monitoring is used to protect the esophagus. We sought to determine the influence of these shorter procedure times on overall hospital procedural volumes in an integrated care hospital system.

Methods:
Procedural data from PVIs were obtained from a 5-physician electrophysiology group in an integrated care hospital system from August 2021 to October 2022.  The case times using LET monitoring and esophageal deviation were compared to case times using esophageal cooling. The total number of PVIs completed in the 7 months prior to adopting active esophageal cooling was also compared to the number of PVIs completed in the 7 months after adoption.

Results:
The transition from multi-sensor LET monitoring and esophageal deviation to active esophageal cooling occurred in March 2022. Average procedure time decreased from 144 to 127 minutes, maximum daily case volume increased from two to three PVIs, and total cases increased from 119 to 189 over the 7 months before and after adoption, respectively. After accounting for constraints due to the pandemic and holidays reducing pre-cooling case totals by up to 40 cases, this represents an 18.9% increase in total procedural volume (P = 0.02).

Conclusions:
Adoption of active esophageal cooling for esophageal protection during RF ablation may increase efficiency and facilitate an increase in PVI procedural volume.

AFS2023-16

Abstract Title: Comparison of Transseptal Puncture Using a Dedicated RF Wire Versus a Mechanical Needle With and Without Electrification

Author: Jeremy Wasserlauf, MD, MS

Co-Author(s):

Saja Al-Dujaili, PhD

Bradley Knight, MD

Rush University Medical Center

1717 W Congress Parkway, Suite 345, Chicago, IL 60612

Introduction | Objectives:

Mechanical force to achieve transseptal puncture (TSP) using a standard needle may lead to overshooting and injury, and can potentially be avoided using a radiofrequency (RF) needle or wire. A commercially available RF TSP system (VersaCross® [VC], Baylis) involves a wire with dedicated tip electrode connected to a proprietary generator. An alternative TSP platform (AcQCross® [AQ], Acutus) has a deployable, open-ended needle that can be electrified when connected to a standard electrosurgical unit. This study investigates the safety and efficacy of AQ compared to VC.

Methods:

TSP using AQ (n=9) and VC (n=9) was performed in ex vivo porcine atrial septa submerged in egg white to simulate electrical conductivity of blood. Devices were advanced 6 mm using a mechanical tester (Instron®) for baseline tenting. VC puncture was performed using a dedicated Baylis generator in 1s constant mode (< 10W) up to 2 times (per IFU). AQ puncture was performed by: A) mechanically advancing until TSP, or manual electrocautery for 2s using a standard electrosurgical generator (ValleyLab®) in cut mode at B) 10W up to 5 times (per IFU), C) 20W up to 2 times, or D) 30W up to 2 times. The primary endpoints were number of attempts required for successful TSP, and force required for TSP. The secondary safety outcome was a qualitative assessment of puncture sites.

Results:

Mechanical TSP with AQ needed 8.7±3.2 mm displacement from baseline tenting (vs. 0 mm for RF TSP with VC; p< 0.001), translating to greater applied force (AQ: 1.2±0.4 N vs. VC: 0.2±0.1 N; p< 0.001, Fig. 1A). AQ-30W required 1.8±0.4 energy applications for TSP versus 1.0±0.0 with VC (p< 0.001). Despite multiple electrifications, AQ failed to puncture using powers below 30W (Fig. 1B). Punctures with AQ-30W were larger with irregular morphology and tissue charring compared to VC (Fig. 1C).

Conclusions:

AQ mechanical puncture required 6 times more force for TSP as VC and failed to achieve TSP at recommended power output. Increasing energy to facilitate AQ puncture was associated with larger defects and signs of thermal damage. Further clinical data are needed to assess whether observed differences in this model translate to improved safety or procedural outcomes using the VC system compared to AQ.

AFS2023-16
Uploaded File(s)

AFS2023-17

Abstract Title: Time-driven activity-based costing analysis of active esophageal cooling implementation

Author: Julie Cooper, MD

Co-Author(s):

Christopher Joseph, BA - University of Texas Southwestern Medical School

Rishi Sikka, MD - Professor, Brown University

Erik Kulstad, MD - Professor, University of Texas Southwestern Medical School

Alex Ro, MD - NorthShore University Hospital

Westby Fisher, MD - NorthShore University Hospital

Jose Nazari, MD - NorthShore University Hospital

Mark Metzl, MD - NorthShore University Hospital

UT Southwestern Medical Center

5323 Harry Hines Blvd, Dallas, TX

Introduction | Objectives:
Different techniques are used for esophageal protection during radiofrequency (RF) catheter ablation of the left atrium, with varying workloads required for each.  Active esophageal cooling has been reported to offer a reduced workload and a consequent shortening of procedural duration. This in turn may impact procedural costs.  We aimed to quantify the effects of procedural time differences between luminal esophageal temperature (LET) monitoring and active esophageal cooling on hospital economics using a time-driven activity-based costing (TDABC) framework.

Methods:
Procedural timing data were acquired from an analysis of 373 patients who received RF catheter ablation in a regional integrated healthcare system, with 198 treated with LET monitoring and 175 treated with active esophageal cooling using a dedicated esophageal cooling device.  Procedural cost data (staff costs, lab space costs, consumables, capital equipment) were obtained from published literature and manufacturers, and these data were then implemented in a cost analysis using TDABC methodology.

Results:
Mean procedure time was 146 ± 51 minutes in the LET-monitored patients, and 110 ± 39 minutes in the actively cooled patients, for a reduction of 36 minutes, or 24.7% of total procedure time (P< .001).  This procedure time reduction resulted in a cost reduction from $17,252 to $16,677 per RF ablation, translating into a net margin increase from $6,201 to $6,776 per case, including the cost of the esophageal cooling device. Annualized, this represents incremental hospital margin of $265,831.  Factoring in the additional cases that can be performed in the time made available results in a total hospital DRG revenue increase of $1.1M per year.

Conclusions:
Implementation of active esophageal cooling during RF catheter ablation in an integrated healthcare delivery system provided significant cost savings and increased hospital margin.

AFS2023-18

Abstract Title: Using early comprehensive rhythm control in addition to guideline-based care for atrial fibrillation: Insights from a Delphi panel with heart rhythm specialists

Author: Thomas F. Deering, MD, MBA

Co-Author(s):

Jonathan Piccini, MD, MHS

Marlon Graf, PhD, MPP

Jacquelyn Chou, MPP, MPL

Priti Pednekar, PhD

David McKindley, PharmD, BCPS

Charlotte Singh, MD, CMPP

Carina Blomström-Lundqvist, MD, PhD

Piedmont Heart Institute

Piedmont Heart Institute 275 Collier Road NW, Ste 500 Atlanta, GA 30309

Introduction | Objectives:
How clinicians adopt guideline recommendations or emerging evidence to formulate specific treatment decisions in atrial fibrillation (AF) patients is unclear. This study examined viewpoints of experts who treat heart rhythm issues to gain expert consensus on 1) the use of early, comprehensive rhythm control therapies in patients with AF, based on guideline recommendations or subsequent research publications, and 2) factors considered when selecting treatment.

Methods:
An online modified Delphi approach was used to gain insights from an expert panel of electrophysiologists (EPs) over three rounds: Delphi survey baseline assessment (round 1); web-based discussion and feedback of aggregate round 1 results (round 2); and Delphi survey reassessment (round 3). The survey questions elicited rankings and uncertainty estimates for treatment, decision-making thresholds, and specific patient subgroups. Consensus was observed if inter-quartile ranges (IQR, 75th-25th percentile) around median (MED, 0-100) responses were < 25 out of 100 or standard deviation (SD) around mean ranks was ≤1 in Round 3.

Results:
Seventeen participants completed all three Delphi rounds. Expert consensus was reached on using early rhythm control therapy (MED=92; IQR=17) based on the view that early intervention improved cardiovascular outcomes (mean rank=1.61 of 3; SD=0.8) and symptoms (mean rank=1.9 of 3; SD=0.9). AF-related symptoms were identified as most important in making a treatment initiation decision (mean rank=1.1 of 7; 88% within 1 SD), followed by AF type (2.5 of 7; 82%). Participants were most likely to initiate at AF symptom onset (MED=80; IQR=6). In making treatment selection decisions, participants ranked safety (1.9 of 7; 88%) and efficacy (1.8 of 7; 53%) as the top two considerations.

Conclusions:
EP physicians in this modified Delphi study agreed that treatment selection was guided by perceived efficacy and safety profiles and clinical guideline recommendations. Future research should address key remaining questions concerning the role of existing and new anti-arrhythmic drugs in AF treatment and treatment algorithms.

AFS2023-19

Abstract Title: Efficient Zero-Fluoro Cryoballoon ablation using VersaCross Large Access, ICE guidance, and workflow optimization

Author: Hany Demo, MD, FACC, FHRS

Co-Author(s):

Swedish Hospital part of NorthShore University HealthSystem

5140 N California Ave, suite 780, Chicago IL 60625

Introduction | Objectives:
While cryoballoon ablation (CBA) remains challenging to be performed without the use of fluoroscopy, adoption of the right tools and techniques can completely eliminate fluoroscopy without compromising safety or efficiency. This study evaluates an improved approach to fluoroless cryoablation facilitated by the VersaCross Large Access (VLA) system (Baylis).

Methods:
A single-center, retrospective chart review was performed for fluoroless CBA cases using two workflows (original: 9/2020 - 6/2021 and current: 6/2022 - 10/2022) (Fig.1A). All procedures were conducted with intracardiac echocardiography (ICE) guidance. Transseptal apparatus, upstream preparation of the FlexCath sheath and Arctic Front Advance catheter (Medtronic), and mapping while ablating were the main variables among workflows. The original workflow used the 8.5F VersaCross Fixed (VCF) sheath system (Baylis), while the current workflow uses the 12.5F VLA system. Efficiency was assessed in terms of time to transseptal puncture (TSP), FlexCath delivery, start of ablation, and overall procedure. Safety was assessed in terms of fluoroscopy use and procedural complications.

Results:
A total of 53 cases using the original workflow and 54 cases with the current workflow were consecutively reviewed with no patient exclusions. Acute procedural success was achieved in 100% of cases, with no fluoroscopy use and no complications in both groups. TSP time was 34% faster, and time to catheters insertion into the LA was 31% faster with VLA than VCF (Fig.1B, C). Ablation start time was 45% faster, and overall procedure time was 30% faster using the current workflow (Fig.1D, E).

Conclusions:

Use of the 12.5F VLA system allowed de novo dilation of the septum, thereby overcoming the challenge of FlexCath sheath-dilator step-up when introduced in the LA, and enabling easier advancement of the ICE catheter into the LA. Two steps were eliminated from the original workflow (Fig.1A, red boxes), which may reduce risks of injury or air ingress. Faster and easier LA access using VLA, earlier cryoballoon preparation and mapping while ablating, facilitated further workflow changes, leading to 30% faster CBA procedure. Further work is needed to assess the impact on overall lab efficiency.

AFS2023-19
Uploaded File(s)

Figure 1

AFS2023-20

Abstract Title: Characterizing lesion morphology of a novel diamond-tip temperature-controlled irrigated radiofrequency ablation catheter

Author: Tarvinder Dhanjal, MD, PhD, FRCP, FESC

Co-Author(s):

Michael Getman, MS

Megan Schmidt, PhD - Scientist

University Hospitals Coventry & Warwickshire

University Hospitals Coventry and Warwickshire Clifford Bridge Road Walsgrave, Coventry,

Introduction | Objectives:

The DiamondTemp Ablation (DTA) system is a novel temperature-controlled irrigated radiofrequency (RF) ablation system that modulates power to maintain an accurately measured tip-tissue temperature in real-time.  Lesion morphologies from longer RF durations with the DTA system have not been previously described.

We sought to evaluate lesion characteristics of the DTA system when varying the application durations.

Methods:

The DTA system was used to deliver discrete lesions on excised porcine endocardium in a benchtop model.  The tissue was dissected and submerged in an approximately half normal saline tank (20L) which was heated to 37oC and continuously circulated at a rate of approximately 6L/min.  The DTA system was power limited at 50W with a targeted set temperature of 60oC and irrigated with normal saline at a rate of 8ml/min during RF delivery. Application durations were randomized to 5, 10, 15, 30, 45, 60, 90, and 120sec.

Results:

In total, 139 applications were attempted. Steam pops were observed in 5 applications, two 90 and three 120 second attempts; these lesions were excluded from further analysis.  Lesion depth increased significantly with longer applications, until 60 sec (5.6 ± 1.3mm) at which no further increase was observed. Surface width was measured at 5.3 ± 2.4mm in the first 5 seconds of ablation; no significant increase was seen when comparing durations of 10+ seconds. As expected, longer duration lesions resulted in higher average temperatures at the catheter-tissue interface, and therefore lower powers due to the fundamental concepts of power titration based on temperature.

Conclusions:

The DiamondTemp Ablation system rapidly creates wide lesions with lesion depth increasing over time with application durations up to 60 seconds.

AFS2023-20
Uploaded File(s)

60C Temperature Set Point Ablation Characteristics

AFS2023-21

Abstract Title: Cryoballoon Ablation for Atrial Fibrillation with Lead-Free Zero Fluoroscopy Approach Integrating Pulmonary Vein Hemodynamics, Intracardiac Imaging, and 3D Mapping: A Four-Year Single-Center Experience

Author: Brandon Doty, OMS-II - Arrhythmia Research Group

Co-Author(s):

Bridget Lee, DO - Arrhythmia Research Group

Jamarcus Brider, DO - Arrhythmia Research Group

Devi Nair, MD - St. Bernards Medical Center & Arrhythmia Research Group

St. Bernards Medical Center

225 East Washington Avenue, Jonesboro, AR 72401

Introduction | Objectives:
Radiation exposure to patients and operators is a known hazard in ablations. Our aim is to evaluate the acute safety and efficacy of zero fluoroscopy cryoballoon ablation (ZFC) for atrial fibrillation (AF) with guidance from intracardiac echocardiography (ICE), pulmonary vein (PV) hemodynamics, and 3-dimensional (3D) mapping.

Methods:
Contiguous patients in a single center underwent ZFC for AF with ICE guidance, PV occlusion monitoring using hemodynamics, and 3D mapping. The superior vena cava was visualized with ICE, transseptal puncture was performed and LA sheath placement was confirmed with ICE. ICE catheter was then advanced into the LA through the same transseptal puncture. 3D mapping of the LA was performed, cryoballoon was advanced into the PV antrum, and seal was confirmed with ICE, color-flow dopper, and PV pressure waveform monitoring. Wide antral circumferential ablation was performed along all PVs. During ablation of right PVs, the phrenic nerve was monitored using palpation, liver capsule excursion noted on ICE, and pulsed wave doppler of the liver capsule. 3D mapping was used to ascertain entrance and exit blocks and circumferential antral isolation.

Results:
A retrospective analysis of patients undergoing ZFC for treatment of AF from November 2018 to September 2022 was completed. The sample included 433 patients (219 women [50.6%] with a mean age of 66.5±11.6 years). Mean total procedure time was 49.3±12.0 minutes, mean LA dwell time was 36.5±10.3 minutes, and mean duration of cryoballoon application was 15.9±4.0 minutes. Procedural complication rates were 0.6% for effusions, 1.3% for phrenic nerve dysfunction, 0.8% for phrenic nerve palsy, 0.1% for vascular complications, 0% for esophageal injury, and 0.5% for all-cause mortality.

Conclusions:
Our single center experience demonstrates the feasibility of safely and effectively completing cryoballoon ablations for atrial fibrillation with a lead-free zero fluoroscopy approach. Additional multi-center studies are needed to ascertain the wide-scale applicability of this approach. The center acknowledges the learning curve associated with this skill set.

AFS2023-21
Uploaded File(s)

PVI Collage

AFS2023-22

Abstract Title: The Efficacy and Safety of Vascular Closure Devices for Same Day Discharges Following Complex Ablations: A Multicenter Study

Author: David Filston, BS

Co-Author(s):

Kerri Jo Banks, MBA, BSN

Sandeep Goyal, MD

Kent Nilsson, MD

Piedmont Athens Regional

Athens, GA

Introduction | Objectives:
Patients with non-valvular atrial fibrillation have decreased quality of life and increased mortality. Percutaneous catheter ablation is a cornerstone treatment for eligible patients. Standard of care often includes overnight observation. Resource limitations during the pandemic forced providers across the country to improve resource allocation, notably abbreviating hospital stays. Vascular closure devices (VCD) have emerged as an alternative to manual pressure to achieve more rapid hemostasis following percutaneous cardiac ablations. This study aims to evaluate the efficacy, safety, and cost effectiveness various hemostatic methods following same day discharge (SDD) after complex ablations.

Methods:
A retrospective chart review of 415 patients who underwent successful pulmonary vein isolations at Piedmont Athens Regional and Piedmont Atlanta Hospital from November 2021 to May 2022 was completed. Patients were stratified by method of hemostasis. A comparison of the safety and efficacy for each method was made based on the following criteria: SDD rate, local vascular complications, time to discharge, and hospital readmission. Cost analysis of each hemostatic method was completed.

Results:
Efficacy: SDD occurred at statistically significant higher rates in the VCD group (115/122, 94.3%) in comparison to Manual Pressure (101/131, 77.1%) and Figure of Eight (129/162, 79.6%) (χ21=15.8, P< .001). Similarly, time to discharge for SDD patients was shortest for VCD (4hrs 13min) followed by Figure of Eight (4hrs 34min) and Manual Pressure (5hrs 9min). Safety: Rates of local vascular complications were similar amongst groups: Manual Pressure (6/131, 4.6%), Figure of Eight (4/162, 2.5%), VCD (4/122, 3.3%). No SDD patients were admitted to the ED or readmitted to the hospital within 24 hours of discharge. Cost analysis: Higher rates of SDD for the VCD group decreased the overall burden on hospital resources; however, VCDs incur an increase in 205 USD cost per patient. 79.4% of the total VCD cost was recouped by fewer overnight stays.

Conclusions:
Vascular closure devices offer equivalent patient safety as well as decreased time to discharge and decreased overnight stays in comparison other methods of hemostasis.

AFS2023-22
Uploaded File(s)

Method of Hemostasis and Overnight Stays

AFS2023-23

Abstract Title: Safety and Feasibility of Same Day Discharge After Percutaneous Left Atrial Appendage Occlusion

Author: David Filston, BS

Co-Author(s):

Kerri Jo Banks, MBA, BSN

Sandeep Goyal, MD

Kent Nilsson, MD

Piedmont Athens Regional

Athens, GA

Introduction | Objectives:
Patients with non-valvular atrial fibrillation have increased risk of stroke, decreased quality of life, and increased mortality. Left atrial appendage occlusion (LAOO) with WATCHMANTM has emerged as an alternative for patients unable to tolerate long term anticoagulation. Prior to the pandemic, standard of care included overnight observations. Resource limitations during the pandemic forced providers to evaluate strategies to improve resource allocation. This study aims to evaluate the efficacy and safety of same day discharge (SDD) following LAOO.

Methods:
A retrospective chart review of 148 patients who underwent successful LAOO from May 2021 to April 2022 at Piedmont Athens Regional and Piedmont Atlanta Hospital was completed. Patients were stratified into SDD and non-same day discharge (NSDD) groups. The original decision for discharge was determined by patient preference or physician decision. Saftey and efficacy were evaluated by accounting for the following events: emergency department (ED) visit within 30 days, hospital readmission within 7 days, and 30-day procedural related complications. Patient characteristics were also evaluated for each group.

Results:
SDD occurred in half (77/148, 52%) of patients. A two tailed Fisher’s exact test showed no statistical difference between treatment groups for frequency of 30-day ED visits (4/77, 5.2% SDD vs. 3/71, 4.2% NSDD, P =1.0), 7-day readmissions (4/77, 5.2% SDD vs. 2/71, 2.8% NSDD, P=1.0), or 30-day complications (6/77, 7.8% SDD vs. 7/71, 9.9% NSDD, P=.77).  The average age for the SDD and NSDD group was 76 years (SD 6.7) and 75 years (SD 9.1), respectively. Males and females experienced SDD at similar rates (30.4% vs. 21.6%). Both groups exhibited well-seated devices at 45 days post operation with no significant peri-device leak or major thrombi.

Conclusions:
Same day discharge appears to be safe for most patients undergoing LAAO with WATCHMANTM.

AFS2023-23
Uploaded File(s)

Patient Adverse Events

AFS2023-24

Abstract Title: Termination of Atypical Flutter During Infusion of Ethanol into the Vein of Marshall

Author: Daniel R. Frisch, MD

Co-Author(s):

Michael Co, MD - Fellow, Thomas Jefferson University

Roman Marchenko, MD - Fellow, Thomas Jefferson University

Thomas Jefferson University

925 Chestnut Street, Philadelphia, PA 19107

Introduction | Objectives:
Termination of mitral isthmus flutter may require endocardial and epicardial ablation. A 65-year-old man with cardiac amylodoisis underwent an extensive right and left atrial (LA) ablation procedure for persistent atrial fibrillation (AF).  Mitral isthmus ablation was performed with endocardial LA and epicardial coronary sinus (CS) ablation however, bidirectional block was not demonstrated.  In follow-up, he presented with recurrent and persistent atypical flutter despite antiarrhythmic medications and electrical cardioversion.  He presented in atypical flutter at the time of repeat ablation.

Methods:
Mapping in atypical atrial flutter identified that the LA lateral wall as essential to the tachycardia circuit (figure, panel A).  The Vein of Marshall (VOM) was identified and then cannulated using a luminal angioplasty balloon. Sterile 100% ethanol was infused in 3 cc increments for a total of 12 cc.

Results:
During the 2nd infusion of ethanol, flutter terminated (figure, panel B).  Left atrial appendage (LAA) pacing showed continued medial to lateral conduction across the mitral isthmus line. After the 3rd ethanol injection, LAA pacing showed medial to lateral block (figure, panel C). Ethanol ablation via the VOM resulted in isolation of both left pulmonary veins and the posterior LA wall (figure, panel D).  Catheter ablation was not required.

Conclusions:
Atypical atrial flutter involving the lateral LA may identify a circuit requiring both endocardial and epicardial ablation to eliminate the arrythmia. The Vein of Marshall is an anatomical target related to this region that may extend therapeutic reach beyond the adjacent endocardial LA and epicardial CS. In this case ethanol ablation terminated the clinical arrhythmia and achieved mitral isthmus block without the need for catheter ablation.

AFS2023-24
Uploaded File(s)

Termination of Atypical Flutter During Infusion of Ethanol into the Vein of Marshall

AFS2023-25

Abstract Title: Novel Open Architecture 3D Mapping System Compatible with Contact Force Catheter

Author: Moritoshi Funasako, MD, PhD

Co-Author(s):

Usman Siddiqui, MS - AdventHealth Celebration Hospital

Alexander Asconeguy, BE - Acutus Medical, Inc.

Paul Kessman, MSEE - CardioNXT

Amanda Mallon, BS - CardioNXT

Ferrell Lavender, BS - CardioNXT

Jan Petru, MD - Na Homolce Hospital

Petr Neuzil, MD, PhD - Na Homolce Hospital

Vivek Reddy, MD - Mount Sinai Hospital

Na Homolce Hospital

Opletalova 38, 110 00 Staré Město, Czechia

Introduction | Objectives:

Present day contact force users are required to commit to use an entire suite of products from Biosense Webster or Abbott in order to display ablation catheter contact force on a 3D Mapping System.  The iMap System is an open architecture 3D Mapping System that utilizes electromagnetics and impedance localization to track a variety of catheters that physician operators choose to use.  A new contact force catheter (AcQBlate FORCE, Acutus Medical, Carlsbad, CA) is expected to be available in the US and is fully compatible with the iMap 3D Mapping & Navigation System (CardioNXT, Boulder, CO, USA).  This will allow physicians to utilize contact force along with any mapping or diagnostic catheter of their choice. 

Objectives are to develop an interface between the iMap 3D Mapping & Navigation System and the AcQBlate System such that real-time contact force data is displayed.

Methods:

CardioNXT developed a software interface for the AcQBlate System.  The interface was used in 6 human patients as part of a 70 patient CE Mark safety study (DYNALINK) at Homolka Hospital (Prague, CZ).  Force data displayed on the iMap System was compared to data displayed on the AcQBlate System and evaluated for accuracy.  Feasibility to navigate the AcQBlate catheter with the iMap System was also evaluated as verified by ground truth of fluoroscopy and ICE.

Results:

The iMap System was able to track an accurate representation of the AcQBlate gold tip catheter, which was used to successfully perform pulmonary vein isolation (PVI) and cavo-tricuspid-isthmus (CTI) ablation in six patients who had documented history of atrial fibrillation and flutter (see Figure 1A and 1B).  The iMap System was able to display ablation data in real-time from the Qubic RFTM (BIOTRONIK SE & Co. KG, Germany) generator and display contact force and FTI from the Qubic Force Sensing Module (see Figure 1C and 1D).  Contact force was displayed as a number at the tip of the catheter.

Physicians were able to deliver RF ablation safely using contact force on the iMap System in order to successfully treat patients per the protocol of the DYNALINK study.

Conclusions:

Display of AcQblate contact force data on the iMap System enables physicians to utilize any diagnostic catheter while also having ablation contact force data in catheter ablation procedures.

AFS2023-25
Uploaded File(s)

AcQBlate contact force catheter visualized using CardioNXT iMap 3D Mapping and Navigation System.

AFS2023-26

Abstract Title: Long-Term Outcome after Convergent Procedure for Atrial Fibrillation

Author: Borut Gersak, MD, PhD

Co-Author(s):

Veronika Podlogar, MD - University Medical Centre Ljubljana

Miha Zupancic, MS - University of Ljubljana, Medical Faculty

Monika Krapez, MS - University of Ljubljana, Medical Faculty

Romana Vranesic, MD - General hospital Novo mesto

Tine Prolic Kalinsek, MD - University Medical Centre Ljubljana

Matevz Jan, MD - University Medical Centre Ljubljana

University of Ljubljana, Medical Faculty

Vrazov trg 2, 1000 Ljubljana, Slovenia

Introduction | Objectives:

The convergent procedure (CP) for treatment of atrial fibrillation (AF) improves 1-year outcome in patients with persistent AF (PeAF) and longstanding persistent AF (LAF) compared to catheter ablation. Long-term outcome for CP has not been reported.

The objective of our single-center retrospective analysis is to evaluate the long-term outcome (LT) for patients with paroxysmal atrial fibrillation (ParoxAF), PeAF and LAF that underwent CP.

Methods:

Follow up was performed in patients who underwent CP from January 2009 until July 2020. The outcome was assessed at one year after the procedure and at long-term follow up (longest LT was 13,5 years) by clinical presentation and rhythm monitoring. At 1-year follow up rhythm was assessed with implantable rhythm monitor (IRM, 59,5%) or 12-lead ECG recording (39,7%). At LT patients were classified depending on clinical presentation. Patients in sinus rhythm were monitored with 7-day ECG Holter (58,0%) or 12-lead ECG recording (6,7%). Patients with unclear history of AF or atypical atrial flutter (aAU) were monitored with 7-day Holter (8,4%) and AF burden was determined. Patients having clinical history of PeAF were not evaluated (26,9%). Repeat radiofrequency ablations (RFA) prior to long-term follow up were documented.

Results:

170 patients underwent CP; 120 patients (77 % males, 58,1 years mean age at CP) with ParoxAF (27,8%), PeAF (8,9%) or LAF (63,3%) were included in the study. 50 were excluded due to lack of long-term follow up (37) or death not related to ablation procedure (13). At 1-year follow up 89,7% of patients had sinus rhythm, 77,6 % patients on Reveal had AF or aAU burden < 1%. At long-term follow up (3035 ± 1010 days) 65,8% of patients had sinus rhythm and 52,9% patients on 7-day holter ECG had AF or aAU burden < 1%. Additional RFAs were performed in 23% of patients who had sinus rhythm or with AF/aAU burden < 1% at the end of follow up.

Conclusions:

Convergent procedure in our mixed group of patients with AF resulted in high long-term probability of sinus rhythm maintenance. However, a substantial number of patients required additional RFA procedures to reach favorable outcome.

AFS2023-26
Uploaded File(s)

Long-Term Outcome after Convergent Procedure for Atrial Fibrillation

AFS2023-27

Abstract Title: Lesion Durability for Atrial Fibrillation Ablation using Voltage and LSI: an LSI Workflow sub-study

Author: Jasen Gilge, MD

Co-Author(s):

Karthik Venkatesh Prasad, MD

Aldo Bonso, MD

Christopher Woods, MD, PhD, FHRS

Masahiko Goya, MD

Matsuo Seiichiro, MD

Benzy Padanilam, MD, FHRS

Ingo Kreis, MD

Felix Yang, MD, FHRS

Christopher Williams, MS

John Tranter, MSEE

Laura Zitella Verbick, PhD

Anne Sarver, PhD

Jesus Almendral, MD

Ascension St Vincent

10590 N. Meridian Street Suite 200 Indianapolis, IN 46290

Introduction | Objectives:

The optimal radiofrequency (RF) ablation lesion has yet to be defined. Current technologies, such as Lesion IndexTM (LSI), incorporate RF current, time, and force applied per ablation lesion into a single value displayed on the mapping system. Voltage may be a surrogate for myocardial thickness, so ablation sites with larger baseline voltage may require larger LSI values to achieve a durable lesion.

Purpose: Understanding the impact of voltage on lesion durability in order to help tailor ablations to the myocardial substrate of interest.

Methods:

This retrospective sub-study enrolled paroxysmal atrial fibrillation (AF) subjects who had an initial voltage map performed in sinus rhythm or paced, underwent RF AF ablation, and had at least one gap identified after pulmonary vein isolation (PVI) in the LSI Workflow study (NCT03906461). Unipolar and bipolar voltage map and AutoMark data were exported from the case files. AutoMark lesions were projected onto the nearest (≤5 mm between lesion and geometry surface) voltage map vertex. Average voltage was calculated within a 5 mm radius of each lesion. A custom algorithm classified lesions into 8 zones around the pulmonary veins. In the LSI Workflow study, if acute PVI success was not achieved, location of gaps was noted. Lesions were divided into zones with or without gaps and pre-ablation voltage was assessed.

Results:

Twenty-five subjects at 9 sites were included, totaling 596 lesions in zones with gaps (non-durable lesions) and 2518 lesions in zones without gaps (durable lesions). The average pre-ablation bipolar voltage was 3.03 mV around non-durable lesions and 2.69 mV around durable lesions (p< 0.001). Unipolar pre-ablation voltage was 2.76 mV around non-durable lesions and 2.37 mV around durable lesions (p< 0.001). There was no difference in mean LSI (4.7 vs. 4.6), duration (10.6 vs. 10.7 s), average RF power delivered (36.4 W vs. 36.6 W), or force (10.5 vs. 10.2 g) between non-durable and durable lesions, respectively.

Conclusions:

On average, non-durable lesions had a higher pre-ablation bipolar voltage compared to durable lesions, and the same LSI was used. Baseline voltage may be an important consideration when determining optimal RF lesion parameters.

AFS2023-27
Uploaded File(s)

Figure 1. An initial sinus rhythm voltage map is shown for one paroxysmal AF subject. The region around the right superior pulmonary vein in which a gap was detected is circled in red. In this region, there were bipolar voltage values >3 mV as denoted by the purple color on the map.

AFS2023-28

Abstract Title: Assessment of Optimal Dose-Response Using a Circular Pulsed Field Ablation Catheter

Author: Jonathan Hsu, MD, MAS, FACC, FAHA, FHRS

Co-Author(s):

Rajesh Banker, MD, MPH

Shephal Doshi, MD

Douglas Gibson, md

Tara Gomez, PhD

Dror Berman, BS

Keshava Datta, PhD

University of California, San Diego (UCSD)

9500 Gilman Dr. La Jolla, CA 92093

Introduction | Objectives:
Pulsed field ablation (PFA) is a non-thermal ablation modality. Evidence regarding an effective and safe dose response of PFA is limited. The objective of this study was to assess the efficacy and safety of various PFA doses delivered intracardially using a circular catheter in a porcine model.

Methods:
A variable loop PFA catheter delivered a group of pulses either 4 times (low dose group), 12 times (nominal group), or 24 times (high dose group). Each dosing strategy was applied to the right superior and inferior veins, and to the right atrium at sites of documented phrenic nerve capture, in 3 subjects. A radiofrequency energy (RF) control was used in 3 subjects, though delivered conservatively adjacent to sites of phrenic nerve capture. PV isolation (PVI) and phrenic nerve function were assessed acutely, and at 30±5 days, at which point necropsy and histopathology were performed. The brain of all animals was evaluated for evidence of cerebral emboli.

Results:
Acute PVI (n=24 total veins, 2 veins per subject) was achieved in 100% of subjects across all groups. Chronic PVI durability was 100% in all PFA groups compared to 83.3% with RF. Lesions were transmural and contiguous in all dosing groups except for the low dose PFA and RF groups. No evidence of phrenic nerve trauma nor cerebral emboli was found. Histologically, PFA lesions were similar across all doses without evidence of thermal effects seen in the RF treated samples.

Conclusions:
PFA delivered via a circular catheter was effective for PVI across all PFA dosing groups, although visible gaps and a lower rate of transmurality was seen on gross inspection for the low dose PFA group. In comparison, the RF group had a lower rate of durable PVI. All doses of PFA spared the phrenic nerve and no evidence of cerebral emboli was encountered.

AFS2023-28
Uploaded File(s)

AFS2023-29

Abstract Title: The Acute Effect of Pulmonary Vein Isolation Upon Left Atrial Conduction - Early Experience with AcQMap Composite Mapping

Author: Simon James, MBBS, MRCP

Co-Author(s):

matthew Bates, MB ChB, MRCP, PhD - Consultant Cardiologist, James Cook University Hospital

nicholas Kelland, MB ChB, MRCP, PhD - Northern General Hospital, Sheffield

justin Lee, MB BCh, MRCP, MD - Northern General Hospital, Sheffield

James Cook University Hospital

James Cook University Hospital

Introduction | Objectives:

Pulmonary vein isolation (PVI) remains the cornerstone of catheter ablation for atrial fibrillation (AF).  Recent trials comparing ablation strategies of PVI only vs PVI plus have shown little difference in outcome.

We postulated that wide area circumferential ablation (WACA) may alter the left atrial (LA) substrate itself as well as producing PVI.

The AcQMap system (Acutus) composite map algorithm computes the speed and direction of the propagating wavefront. The number of wavefronts that have a conduction speed less than a 0.3 m/s is counted and visualized on the 3D anatomy. We describe our early experience using the AcQMap system to assess the effect of PVI upon LA conduction velocity.

Methods:

5 consecutive patients undergoing PVI for persistent AF were studied. Conduction velocity of the LA was recorded pre-and immediately post-PVI. AcQMap was used to quantify whether conduction velocity of wavefronts at any given site was reduced for 100, 75, 50 or < 25 % of activations. 3 observer consensus was used to grade regions as 0 (normal), 1, 2 or 3 accordingly onto a 19 segment model of the LA.

Results:

All 5 patients underwent successful WACA with no complication. Post PVI map demonstrated significant changes in all cases. Data is shown in figure 1.

3 cases demonstrated an overall a reduction in in the amount of slow conduction by 1 or more grades. These cases had the highest burden of slow conduction at baseline.

2 cases showed overall increase in slow conduction zone post PVI. These 2 cases had the lowest burden of slow conduction pre-ablation.

Conclusions:

WACA resulted in significant changes to LA conduction velocity in all cases in this pilot study. In cases with the highest burden of abnormal conduction there was a net improvement. In the 2 cases with minimal abnormality at baseline there was increase in the amount of abnormal conduction seen. This suggests WACA has potentially an effect to the LA over and above that of just isolation of the veins.

Further study of more cases using higher resolution software is required to confirm these initial findings and to correlate the clinical impact of these effects.

AFS2023-29
Uploaded File(s)

Figure 1. outcome data, case examples and LA model

AFS2023-30

Abstract Title: GANGLIA-AF TRIAL: Re-do Procedures after Ganglionated Plexi Ablation for Paroxysmal AF

Author: Prapa Kanagaratnam, FRCP PhD

Co-Author(s):

Jamie Kay, MRCP

Min-Young Kim, PhD

Nick Linton, PhD

Imperial College

Du Cane Rd London, UK

Introduction | Objectives:
GANGLIA-AF was a prospective, randomized, controlled trial comparing ganglionated plexi ablation (GPA) without PVI against PVI in pts with paroxysmal AF. We report the results of redo procedures.

Methods:
Pts with symptomatic recurrent atrial arrhythmias underwent redo-ablation. Pts who had GPA at index procedure underwent PVI +/- GP ablation identified by high frequency stimulation (HFS). GP maps from index and repeat cases were compared.

Results:

Per-protocol outcomes are reported in GPA arm (n=52; 51%) undergoing HFS mapping at 89±26 sites with a median of 17 GPA sites per pt or PVI (n=50; 49%).

23 (44%) in the GPA arm had a redo procedures (17 PVI±GPA (33%), 6 AT (12%)) at 621±313 days. 18pts (36%) in the PVI arm had a redo procedure (10 PVI (20%), 8 AT(16%)) at 585±367 days (P= 0.74). A 3rd ablation was required in 1 (2%) GPA arm and 2 (4%) PVI arm.

15pts underwent GP remapping. 45±27% of index procedure GPs had recovered such that < 25% recurrence was seen in 4, 25-50% in 7, 51-75% in 2 and >75% in 2. Interestingly, 35±31% of GPs at the redo procedure had not been documented at the index procedure with < 25% new GPs in 6, 25-50% in 3, 51-75% in 5 and >75% new GPs in 1.

Conclusions:
GPA alone and PVI had similar rates of redo procedures over long term with new and recovered GPs being identified mediating AF recurrences.

AFS2023-30
Uploaded File(s)

AFS2023-31

Abstract Title: RETRO-mapping: A Novel Algorithm Automating Activation Mapping During Atrial Fibrillation Demonstrates a Reduction in Wavefront Collisions Following Pulmonary Vein Isolation

Author: Prapa Kanagaratnam, FRCP PhD

Co-Author(s):

Ilektra Kanella, .

Clare Coyle, MRCP

Ian Mann, PhD

Nick Linton, PhD

Imperial College

Du Cane Rd London, UK

Introduction | Objectives:
Activation mapping of persistent AF using a novel algorithm (RETRO-Mapping) may help elucidate the mechanisms driving AF.

Methods:
Pts undergoing PVI for persistent AF using the Precision™ system has 3secs of AF recorded at 6 left atrial sites using an AFocusII™ and repeated at the same sites after PVI. The data was analysed with RETRO-mapping using MatLab™. Each 3s segment was reviewed in 2ms timewindows for evidence of focal, planar and colliding waves and reported as number * 10-6per mm2/s/pt.

Results:

10 pts (62.1±9.0yrs) with persistent AF (duration 27±16mths) had 360secs of data from 60 atrial locations analysed, 70 focal waves, 4474 planar waves and 947 collisions were identified. RETRO-map was highly effective at identifying focal waves (FigA) and collisions (FigB) achieving 100% correlation with manual validation.  For planar waves, the RETRO-map categorisation had to last ≥ 24ms to achieve an 80.3% correlation with manual validation. The frequency of collisions significantly reduced from 17.3 pre-PVI to 10.4 (p=0.002) after PVI. The frequency of focal activations was lower after PVI (1.18 to 0.88 post-PVI, p=0.259), but did not reach significance. PVI had no effect on the manually validated planar waves (12.8 to 13.1 post-PVI, p=0.649).

Conclusions:
RETRO-mapping was effective at automatically identifying focal activation and collisions during AF. PVI reduces the frequency of wavefront collisions in the left atrium.

AFS2023-31
Uploaded File(s)

AFS2023-32

Abstract Title: Not Too Late To Ablate: Effect of Cardiac Catheter Ablation on Ejection Fraction in Patients with Atrial Fibrillation and Pre-Operative Ejection Fraction under 50%

Author: Aqeel Khanani, MS

Co-Author(s):

Lake Erie College of Osteopathic Medicine

5000 Lakewood Ranch Blvd, Bradenton, FL 34211

Introduction | Objectives:
Cardiac catheter ablation is a recognized treatment modality for the management of Atrial Fibrillation (AFib) in symptomatic patients. Patients with AFib may also present with decreased Ejection Fraction (EF). Though the intended purpose of the procedure is to correct the underlying AFib, improvements in EF have also been observed following ablation. This study seeks to measure and analyze the changes in EF of patients with AFib and pre-op EF < 50% by comparing pre-op and post-op measurements.

Methods:
In this study, only AFib patients with a pre-op EF < 50% were included. Patient data was retrieved from Florida Cardiology’s electronic medical records, spanning from Jan 2019 to Nov 2021. 34 patients met this inclusion criteria. 22 patients had Paroxysmal AFib; 12 patients had Persistent AFib; 21 patients had a previous HF diagnosis; average CHA2DS2-VASc score of 3.79; average time between EF measurements was 362.44 days (SD 253.60 days).

Results:
34 patients were included in this study. Average pre-op EF was 34.71% (SD 9.52%). Average post-operative EF was 47.85% (SD 12.62%). An average change in EF of +13.15% (SD 10.11%) was noted. With confidence intervals set at 95%, T-test analysis demonstrated a statistically significant improvement in EF following ablation. 30 patients had no recurrence of AFib symptoms at the time of this study, yielding a procedural success rate of 88.24% in terms of symptom resolution. Additionally, Persistent AFib patients had a greater average increase in EF compared to that of Paroxysmal AFib patients (18.75% vs. 10.09%).

Conclusions:
Ablation resulted in a statistically significant improvement in EF of AFib patients with a pre-op EF < 50%. Average change in EF was +13.15% (SD 10.11%). Ablation also led to resolution of AFib symptoms in 88.24% of patients. This study demonstrates that ablation remains a safe and practical tool for the treatment of AFib in patients with clinically decreased EF.

AFS2023-32 
Uploaded File(s)

Figure 1. Each patient’s pre-operative and post-operative Ejection Fraction measurements graphed along the X and Y axes, respectively.

AFS2023-33

Abstract Title: Atrial Fibrillation Screening and Cognitive Impairment in Patients Attending Community Podiatry A scoping review and Cross Sectional Study

Author: Ellen Kirwan, BSc. MPhill

Co-Author(s):

Claire MacGilchrist, BSc, Phd - Lecturer, University of Galway

Caroline McIntosh, BSc, Phd - Head of School, University of Galway

University of Galway

University Rd, Galway Ireland

Introduction | Objectives:

Atrial Fibrillation (AF) is the most common arrhythmia globally in adults, and its prevalence increases with age. The incidence of mild cognitive impairment (MIC) also increases with age. Both MCI and AF share important risk factors.

This study aimed to examine the relationship between MCI and AF through a phased approach. Phase one was a scoping review and phase two was a cross-sectional study.

Methods:

This scoping review was carried out in accordance with the Preferred Reporting Items for Systematic Reviews and Meta-Analyses extension for Scoping reviews (PRISMA-ScR). The cross-sectional study opportunistically screened 214 participants for MCI and AF in a podiatric community setting in the West of Ireland.

Results:

The scoping review included 38 studies. Across the included articles, the mean prevalence of MCI in patients with AF was 37.84%. The main proposed pathologic mechanisms linking MCI and AF from the articles were white matter lesions, cardiovascular risk factors, silent cerebral infarction and cerebral hypoperfusion. The most common tools used in these studies to identify MCI were a battery of cognitive tests and the MoCA test. Phase two opportunistically screened 214 patients for AF and MCI. The prevalence of AF in this cohort was 15.4%. In total, 50 (23.4%) participants had MoCA scores less than 26 indicating MCI and seven (3.2%) participants had MoCA scores less than seventeen indicating moderate cognitive impairment. A statistical significance was found; those with arrhythmia had lower MoCA scores indicative of cognitive impairment (P=0.025).

Conclusions:

This project highlighted the relationship between MCI and AF. This research shows the critical role that podiatrists can play in the early detection of these conditions. Future studies could further evaluate the role of podiatrists in opportunistic screening for arrhythmias and to particularly examine the prevalence of AF and MCI in a more racially diverse population.

AFS2023-33
Uploaded File(s)

Summary of Results Cross Sectional Study

AFS2023-34

Abstract Title: Potential protective mechanisms against atrioesophageal fistula formation with active esophageal cooling - the role of epithelial to mesenchymal transition

Author: Erik M. Kulstad, MD, MS

Co-Author(s):

Samuel Omotoye, MD - Cleveland Clinic

Jason Zagrodzky, MD - Texas Cardiac Arrhythmia Institute

Jamal Hayat, MD - St. George's Hospital, London

Rogelio Silva, MD - University of Illinois

Benjamin Levi, MD - UT Southwestern Medical Center

Audra Clark, MD - UT Southwestern Medical Center

UT Southwestern Medical Center

5323 Harry Hines Blvd, Dallas, TX

Introduction | Objectives:
Although the pathophysiology behind atrioesophageal fistula (AEF) formation after thermal injury during radiofrequency (RF) ablation for the treatment of atrial fibrillation (AF) is uncertain, a robust literature on fistula formation in other conditions (Crohn’s disease, cancer, and trauma) exists. A cross-disciplinary review of these molecular mechanisms has not previously been performed, but doing so may offer useful insights into the understanding of AEF formation and the mechanisms by which esophageal cooling may reduce the likelihood of AEF.

Methods:
We reviewed literature on fistula formation and thermal injury progression, identified proposed molecular drivers, then cross-referenced these with literature on therapeutic cooling to understand effects on the actions of each marker.

Results:
Fistula formation requires a transformation in which epithelial cells lose their polarization and become characteristically mesenchymal and mobile. This process is triggered by events such as thermal injury, and is governed by inflammatory mediators such as tumor necrosis factor-alpha (TNF-α), transforming growth factor-beta (TGF-β), and interleukins, which then activate remodeling enzymes such as matrix metalloproteinases.  EMT induces gastrointestinal epithelial cells to penetrate into deeper tissue layers and connect to other organs with expression of the transcription factors SNAIL and SLUG that are involved in down-regulation of E-cadherin.  This process generally occurs over weeks, and bacterial wall components may facilitate it.  Importantly, cooling of tissues has been shown to have significant mitigating effects on most of these factors.

Conclusions:
The process of EMT is pivotal in fistula formation and stimulated by inflammatory markers, most of which show reduced or blocked activity from cooling.  These findings offer additional explanations for the protective effects seen with active esophageal cooling during RF ablation, and provide avenues for further investigation.

AFS2023-34
Uploaded File(s)

Table 1. Summary of molecular mediators involved in fistula formation and the effect of cooling on activity.

AFS2023-35

Abstract Title: Voltage Mapping of a Novel 31mm Cryoballoon for Pulmonary Vein Isolation to Manage Paroxysmal Atrial Fibrillation: A Single Center Experience

Author: Kevin Makati, MD

Co-Author(s):

Joseph Pompei, BS - Boston Scientific

Franccesca Pickmans, BS - Research Assistant, Tampa Cardiac Specialists

Nicholas Jordan-Topp, BS RCIS - Boston Scientific

BayCare Health Systems

4211 Van Dyke Road Suite 205

Introduction | Objectives:
Pulmonary vein (PV) cryothermy to treat paroxysmal atrial fibrillation (PAF) is well established, however cryoballoon (CB) design has remained static given prior limitations in device engineering.  Data have recently been collected on a novel 28 and 31 mm CB system designed to safely reach a lower nadir temperature and maintain constant CB size and shape during cooling.  Ultrasensitive voltage maps have been collected examining CB apposition, characterizing lesion size and effect.

Methods:
-

Results:
A single center investigation including the extension arm of the FROZEN AF trial (NCT04133168) involved 14 total patients, 8 using the 31 CB (69 YRS/SD12.4, CHA2DS2-VASc=2.3/SD0.5, LA diameter=3.8/SD1.3).  Acute isolation with the novel CB was successful in all patients.  Biophysical characteristics were as expected based on prior reports of 28mm CB usage.  Analysis of ultrasensitive voltage maps revealed enhanced wide antral lesions around 100% of 32 PVs using a 31mm CB compared to 24 PVs using 28mm CB.  Initial assessment of scar burden from these lesions revealed a fractional antral scar of 68% vs 60.5%, 31mm vs 28mm respectively (p=0.048).  Notably, the larger balloon and sheath maneuverability allowed greater operator control of lesion placement while maintaining occlusion.

Conclusions:
A novel variable size balloon was successfully used in all study patients.  The combination of maneuverability and variable size may overcome challenges resulting from patient-to-patient variability in PV size/ geometry.  The choice between 28 and 31mm diameter in a single device facilitate obtaining appropriate occlusion. More antral positioning of a larger balloon may provide more discretion as to size and location of PVI lesions.  Long term outcomes are pending completion of the FROZEN trial.

AFS2023-35
Uploaded File(s)

Ultrasenstive Voltage Maps (preABL/28mm/31mm)

AFS2023-36

Abstract Title: Novel Nanosecond Pulsed Field Ablation Compatible with 3D Mapping and Navigation System

Author: Ashwin Mathur, MS

Co-Author(s):

Paul Kessman, MSEE - CardioNXT

Jerome Edwards, BS, MS - CardioNXT

Roman Turovskiy, BS, MS - Pulse Biosciences, Inc.

David Danitz, BS, MS - Pulse Biosciences, Inc.

Iwanari Kawamura, MD - Mount Sinai Hospital

Usman Siddiqui, MD - AdventHealth Celebration Hospital

Jacob Koruth, MD - Mount Sinai Hospital

Vivek Reddy, MS - Mount Sinai Hospital

CardioNXT

12011 N Tejon st., suite 700, Westminster, CO. 80229.

Introduction | Objectives:

Pulsed Field Ablation (PFA) is an exciting new modality for ablating cardiac arrhythmias, as it promises to remove risk of esophageal fistula during ablation.

Existing PFA systems utilize pulse durations in the 10’s to 100’s of microseconds, stimulating skeletal muscle resulting in patient spasm.  As such, deeper sedation and paralytics are needed during these procedures.  An exciting new PFA system using nanosecond duration pulses (nsPFA™) has been developed.  This nsPFA system (Pulse Biosciences, Hayward, CA, USA) significantly reduces skeletal muscle contraction, providing better stability for the catheter ablation without the need for paralytics.

The nsPFA catheter can be visualized using a 3D Mapping and Navigation system during procedures to optimize the location and orientation of the catheter and ensure consistent lesion placement during treatment.  3D Mapping will facilitate removal of fluoroscopy radiation exposure.

Objectives are to develop an interface between the iMap 3D Mapping & Navigation System (CardioNXT, Boulder, CO, USA) and nsPFA ablation system to navigate an accurate rendering of the nsPFA catheter.  Electrodes are integrated into the nsPFA catheter to facilitate both mapping and ablation.

Methods:

The nsPFA Catheter was navigated utilizing the iMap System in 9 animals as part of an integration study.  Geometries and voltage maps were evaluated during the procedure.

Results:

Preclinical data showed the iMap System was able to accurately track and visualize the orientation of the nsPFA catheter (see 1A and 1B), as well as create a Right and Left Atrial geometry map suitable to visualize the nsPFA catheter pulsing at the ostium of the veins (see 1C).  Seamless navigation of the Nano Pulse catheter was observed between subsequent applications.  Post-ablation voltage maps were created with the nsPFA catheter to confirm electrical isolation of the treated areas, including: SVC, IVC, PVs, and LA posterior wall (see 1D).

Conclusions:

Integrating nsPFA and 3D Mapping & Navigation stands to provide significant benefits to patients, physicians and hospital staff by removing the need for harmful radiation exposure.  NsPFA will reduce spasm and thus reduce need for deeper sedation and paralytics.  Resulting procedures promise to be faster and safer.

AFS2023-36
Uploaded File(s)

Pulse Bioscience’s nsPFA system visualized using CardioNXT iMap 3D Mapping and Navigation System.

AFS2023-37

Abstract Title: Zero Versus Conventional Fluoroscopy Ablation for Symptomatic Persistent Atrial Fibrillation

Author: Mark D. Metzl, MD

Co-Author(s):

Tina Hunter, PhD

Jose Nazari, MD

William Thatcher, MS

Northshore University HealthSystem

2650 Ridge Avenue Evanston, IL 60201

Introduction | Objectives:
Reliance on fluoroscopy for catheter ablation has been trending downward with adoption of 3D electroanatomical mapping, intracardiac echocardiography, and visualizable catheter sheath technologies, but evidence on zero-fluoroscopy ablation is still sparce for persistent atrial fibrillation (PsAF). The current study aimed to evaluate the safety, effectiveness, and efficiency of zero-fluoroscopy PsAF ablation in a real-world setting.

Methods:
This was a retrospective cohort analysis of consecutive symptomatic adult PsAF patients who underwent catheter ablation between August 2016 and December 2020 at a single academic center treated by two operators. Patients were ablated by wide area circumferential ablation for pulmonary vein isolation (PVI) with a contact force catheter. Cohorts were defined based on whether the procedure was performed with or without fluoroscopy.

Results:
A total of 136 patients were enrolled and 113 (83.1%) ablations were performed without fluoroscopy. Procedures using fluoroscopy had a median fluoroscopy time of 6 min. Most patients (77.1%) required ablation of the cavotricuspid isthmus and/or posterior wall in addition to PVI. Mean procedure and radiofrequency times were similar across cohorts (p=0.5847 and p=0.2300). Kaplan-Meier estimates of freedom from post-blanking atrial arrhythmia recurrence or reablation at any time through 12 months were not significantly different for procedures with or without fluoroscopy (62.1% vs. 71.2%, p=0.7250). One patient in each cohort experienced a complication requiring hospitalization that was definitely or possibly related to the procedure. The patient in the zero-fluoroscopy cohort (0.9%) had a pseudoaneurysm of the right common femoral artery, while another patient in the fluoroscopy cohort (4.3%) experienced an acute cerebrovascular event.

Conclusions:

Safety, effectiveness, and efficiency outcomes were comparable between zero-fluoroscopy and fluoroscopy-guided PsAF ablations in a real-world setting.

AFS2023-37 
Uploaded File(s)

AFS2023-38

Abstract Title: Unique "FieldBending" PFA Electrode Design with Contact-Force Integrated with Commercial 3D Mapping & Navigation System

Author: Steven Mickelsen, MD

Co-Author(s):

Bart Schade, BS - Field Medical, Inc.

Jerome Edwards, BS, MBA - CardioNXT, Inc.

Ashwin Mathur, BS, MS - CardioNXT, Inc.

Amanda Mallon, BS - CardioNXT, Inc.

Paul Kessman, MSEE - CardioNXT, Inc.

Usman Siddiqui, MD - AdventHealth Celebration Hospital

Vivek Reddy, MD - Mount Sinai Hospital

Field Medical, Inc.

NA

Introduction | Objectives:

In July of 2019 JACC published the first paper showing potential advantages of pulsed field ablation (PFA).  Since then, interest in pulmonary vein isolation (PVI) technology has exploded.  Initial results from the MANIFEST-PF Registry were positive, but highlighted limitations of such PFA.  Second generation PFA technology is being developed to address technical challenges of tolerability, thermal profile, and procedural efficiency for targets outside the pulmonary veins.

An exciting new pulsed field system (FieldForce Ablation System, Field Medical, Inc. Cardiff CA, USA) presents a novel focal ablation catheter capable of delivering deep lesions with reduced skeletal muscle capture.  The proprietary “FieldBending” electrode design is magnetically enabled with optical contact force sensors facilitating localization with electromagnetic 3D Mapping & Navigation.

Visualization of the unique catheter tip and contact force vector is designed to improve efficacy over the range of treatment doses.  Accurate visualization may improve therapeutic efficacy, reduce procedural time, and limit fluoroscopic radiation exposure. 

Objectives are to develop an interface between the iMap 3D Mapping & Navigation System (CardioNXT, Boulder, CO, USA) and FieldForce2 Catheter to navigate an accurate rendering of the PFA catheter, and to display accurate contact force measurements.

Methods:

A software interface was developed between the iMap System and the Field System to receive electromagnetic position data about the catheter’s integrated sensor, as well as to receive contact force data about the catheter’s tip.

Results:

The iMap 3D Mapping and Navigation System was able to display a spatially accurate rendering of the FieldForce2 Catheter along with contact force data streaming from the Field System (See figures 1A, 1B and 1C).

Conclusions:

Integration of the FieldForce2 Catheter and the iMap 3D Mapping and Navigation System presents a new way for physicians to deliver focal PFA.  By integrating contact force and localization data, electromagnetic 3D Mapping & Navigation can facilitate an emerging second generation PFA platform designed to address the spectrum of cardiac arrythmias.

AFS2023-38
Uploaded File(s)

FieldForce2 Catheter navigated utilizing CardioNXT iMap 3D Mapping and Navigation System.

AFS2023-39

Abstract Title: Evaluation of sleep apnea among consecutive patients with all patterns of atrial fibrillation

Author: Eric W. Mills, M.D., Ph.D.

Co-Author(s):

Michael Cassidy, B.S.

Tamar Sofer, Ph.D.

Thomas Tadros, M.D.

Paul Zei, M.D., Ph.D.

William Sauer, M.D.

Jorge Romero, M.D.

David Martin, M.D.

Elliott Antman, M.D.

Sogol Javaheri, M.D., M.P.H

Massachusetts General Hospital

55 Fruit St, Boston MA 02114

Introduction | Objectives:

Atrial fibrillation (AF) is the most common arrhythmia encountered in clinical practice and is associated with significant morbidity, mortality, and financial burden. Obstructive sleep apnea (OSA) is more common in individuals with AF and may impair AF treatment efficacy including with catheter ablation. However, the prevalence of undiagnosed OSA in all-comers with AF is unknown. 
Methods:

This pragmatic, phase IV prospective cohort study will test 250-300 consecutive ambulatory AF patients with all patterns of atrial fibrillation (paroxysmal, persistent, and long-term persistent) and no prior sleep testing for OSA using the WatchPAT system, a home sleep test (HST).

Results:

We report the design, methodology, and results from the initial pilot enrollment of approximately 25% (N=52) of the planned sample size. The primary outcome is the prevalence of undiagnosed OSA in all-comers with AF. Additional outcomes of interest include the sensitivity and specificity of clinical screening instruments for OSA in the AF population and AF-related quality of life measurements among those with and without OSA. Results of the pilot dataset demonstrate a 77.5% prevalence of at least mild (apnea-hypopnea index ≥5) OSA or greater in all-comers with AF.

Conclusions:

Based on our preliminary dataset representing one quarter of the planned total enrollment size of 250-300, there is a high prevalence of OSA in all-comers with AF.

AFS2023-39
Uploaded File(s)

Home sleep test (HST) results in all-comers with AF

AFS2023-40

Abstract Title: Pulsed-field ablation technology for pulmonary vein and left atrial posterior-wall isolation in patients with atrial fibrillation: preliminary experience from an experienced ablation center

Author: Massimo Moltrasio, MD

Co-Author(s):

Gaetano Fassini, MD

Stefania Riva, MD

Fabrizio Tundo, MD

benedetta Majocchi, MD

Giulia Vettor, MD

Francesca Pizzamiglio, MD

maria Antonietta Dessanai, MD

Valentina Ribatti, MD

Lorenzo Bianchini, MD

Corrado Carbucicchio, MD

Francesca De Lio, MD

Tommaso Sattin, MD

Maurizio Malacrida, EN - Boston Scientific, Milan, Italy

Selene Cellucci, CCP

Claudio Tondo, MD

Centro Cardiologico Monzino IRCCS

Via Parea 4, 2018 Milan Italy

Introduction | Objectives:

Left atrial posterior wall isolation (LAPWI) by thermal energy sources in addition to pulmonary vein isolation (PVI) has emerged as a potential strategy to improve AF ablation outcomes. Recently, a non-thermal pulsed-field ablation (PFA) approach has been made available for clinical use. We report our preliminary experience of a new PFA system in the context of PVI and LAPWI AF ablation in an expert center.

Methods:

All consecutive patients(pts) undergoing AF ablation with the FARAWAVE PFA catheter were included. A protocol-directed PVI was delivered using 2kV with 8 applications per vein (4 applications each in the basket and flower poses). Additional lesions for LAPWI were performed at the operator’s discretion. To achieve LAPWI, the ablation included the floor (between the bottoms of the right and left inferior PVs) and roof lines (between the tops of the right and left superior PVs) with additional lesions at carina sites, when required. The ablation endpoint was PVI as assessed by entrance and exit block. In case of LAPWI, remap of the LA was carried out during coronary sinus pacing to accurately pinpoint conduction gaps at the ablation lines with additional validation through voltage and activation maps.

Results:

A total of 45 cases were included (n=26, 57.8%, paroxysmal AF, n=19, 42.2% persistent AF). Of them 37 (82.2%) were de novo cases, whereas 8 (17.8%) were redo cases. A mapping system was used in 28 (62.2%) procedures. The number of PFA applications to reach PVI was 32±4 Fluoroscopy time was 22±10 min, DAP was 4718±3850 cGy^cm2, total procedural time was 86±24 min, primary physician time 63±17 min, lab occupancy time was 123±23 min and time to achieve PVI was 20.6±8 min. The first pass isolation rate per vein was 100%. At the end of the procedure, PVI was achieved in all pts (100%) using only PFA. Additional PFA deliveries on LAPW were performed in 13 (28.9%) cases (all with 3D mapping), requiring 16±9 PFA deliveries (total of 36±10 PFA deliveries/pt). Achievement of LAPWI was reached in all cases, with all the additional lesion sets validated through differential pacing and 3D mapping. No major procedure-related adverse events were reported.

Conclusions:

In our first experience with the novel PFA system, cellular electroporation of PVs and LAPW proved to be safe and effective in both paroxysmal and persistent AF patients.

AFS2023-41

Abstract Title: Telemedicine management of atrial fibrillation – can this be applied to all ages?

Author: April K. Watkins, DNP

Co-Author(s):

Jane Champion, PhD, DNP, FNP - Professor, The University of Texas at Austin

Jeroen Hendriks, RN MSc PhD FESC FCSANZ - Professor

The University of Texas at Austin

1710 Red River Street Austin, TX 78712

Introduction | Objectives:
Atrial fibrillation (AF) care can be difficult to obtain. Telemedicine provides quick access to specialists. Technology barriers may prevent older adults from participating in telemedicine. 

To explore the characteristics of patients seen in a AF telemedicine clinic in Texas.

Methods:

An APRN provided 30-minute AF visits via telemedicine. A descriptive retrospective analysis of the first 115 adult patients was reviewed.

Results:

115 patients. Male (71.3%). Mean age 69 (± Satandard Deviation [SD] 11.59) age range 27 to 99. Ages 80-99 = 14.8% of the visits.

Conclusions:

Older adults were able to participate in telemedicine. Technology barriers did not appear to impact care delivery.

AFS2023-42

Abstract Title: Patterns of Anatomical Approaches to Pulmonary Vein Isolation in Initial DYNAMIC-AF Cohort

Author: Jose Osorio, MD

Co-Author(s):

Paul Zei, MD - Brigham and Women’s Hospital

Gustavo Morales, MD - The Arrhythmia Institute at Grandview

Sunil Kapur, MD - Brigham and Women’s Hospital

Benjamin D’Souza, MD - Penn Presbyterian Medical Center

Sean Beinart, MD, MSc - Luminis Health Research Institute, Luminis Health Anne Arundel Medical Center

Saumil Shah, MD, FHRS - Virginia Arrhythmia Consultants, Chippenham Medical Center

Rajesh Venkataraman, MN - Houston Methodist the Woodlands Hospital

Emily Wenzel, MD - Abbott

The Arrhythmia Institute at Grandview

3686 Grandview Pkwy Ste 720, Birmingham, AL

Introduction | Objectives:

It is known that esophageal injury is a potential complication of PVI, with rare but potentially deadly progression to atrio-esophageal fistula. In addition to measuring esophageal (ESO) temperature, various RF ablation (RFA) approaches are used to reduce risk of this complication, including power changes and delivery time limits. However, real-world incidence of RFA technique changes by anatomical location have not been quantified.

The goal of this analysis was to assess patterns of RFA technique by anatomical location during PVI among US electrophysiologists.

Methods:

Acute data from 88 de novo PAF and PsAF (< 1 yr) procedures was collected from 5 US centers in a prospective, observational registry. Choice of RFA technique was per physician preference; TactiCath ablation catheter was used in all procedures. RFA technique of contiguous point-by-point (CPBP), non-contiguous point-by-point (NCPBP), drag, or a combination was compared between anterior (AN) and posterior (PS) segments. Physicians were asked if a technique change was to avoid a rise in ESO temperature.

Results:

The CPBP technique alone was used in 72 AN segments (81.8%) and only 27 PS segments (30.7%, 62.5% reduction). NCPBP alone was used in 2 AN (2.3%) and 47 PS segments (53.4%, 95.9% increase). Drag alone was used in 7 AN and PS segments (8.0%). The remainder (7.9%) used a combination; there was no AN to PS technique change in these cases. Differences in approach were statistically significant (p< 0.05). Overall, AN to PS technique changes were present in 52.3% of cases; 100% of changes were due to rise in ESO temperature indicated by physician. ESO monitoring was used in all cases (3% Multi sensor probe, 97% standard); no ESO deviation was done. Overall first pass success was 75% and acute PVI success was 97%.

Conclusions:

This analysis provides initial insight into real-world patterns of ESO monitoring and resulting RFA technique considerations in PVI in the US. As expected, CPBP is most common; however, this is not feasible in over half of cases due to ESO location. Despite this, cases in this cohort show high acute and high first pass success rates. Further analysis of long-term outcomes, RFA power for anatomic considerations, and detailed technique comparisons should be considered in larger cohort.

AFS2023-42
Uploaded File(s)

Patterns of Anatomical Approaches to Pulmonary Vein Isolation in Initial DYNAMIC-AF Cohort

AFS2023-43

Abstract Title: Intracardiac echocardiography versus transesophageal echocardiogram imaging during catheter ablation for atrial fibrillation: A multi-hospital retrospective database analysis

Author: RHEA C. PIMENTEL, MD

Co-Author(s):

SONIA MACCIONI, MPH - JOHNSON AND JOHNSON

RAHUL KHANNA, PHD - JOHNSON AND JOHNSON

The University of Kansas Health System

1530 North Church Road Liberty, MO 64068

Introduction | Objectives:

Transesophageal echocardiogram (TEE) and intracardiac echocardiography (ICE) represent imaging modalities typically used during the catheter ablation (CA) procedure for atrial fibrillation (AF). Limited information currently exists on the comparison of healthcare use outcomes among AF patients undergoing CA with ICE versus TEE.

Methods:

Using the 2016-2021 Premier Healthcare Database (PHD), a nationwide, multi-hospital database in the United States (US), patients with AF undergoing CA procedure were identified, and classified into two groups – ICE or TEE – based on the imaging modality used during the procedure (for TEE, past month use was also considered). Study outcomes assessed (in the post-ablation 365-day period, post-ablation upto 90 days [blanking period], and post-blanking 91-365 days) included all-cause, cardiovascular (CV)-related, and AF-related inpatient admissions, electrical cardioversion, and repeat CA, respectively. Propensity score matching was used to balance the two groups on study covariates. Outcomes were then compared in the matched cohort using generalized estimating equations (GEE) controlling for hospital clustering.

Results:

There were 11,869 patients (9,343 ICE; 2,526 TEE) in the matched cohort. As depicted in Figure 1, AF patients who underwent CA with ICE versus TEE use had significantly lower risk of all-cause inpatient readmissions (Odds Ratio [OR] 0.57, 95% Confidence Interval [CI] 0.45-0.71), CV-related inpatient readmissions (OR 0.57, 95% CI 0.46-0.71), AF-related inpatient admissions (OR 0.65, 95% CI 0.50-0.84), and repeat CA procedure (OR 0.22, 95% CI 0.14-0.35) in the post-ablation 90-day blanking period. Similar results were observed over the entire 1-year post-ablation period, with ICE patients having significantly lower risk of all-cause inpatient readmissions (OR 0.71, 95% CI 0.56-0.88), CV-related inpatient readmissions (OR 0.73, 95% CI 0.59-0.89), and repeat CA procedure (OR 0.67, 95% CI 0.48-0.92).

Conclusions:

Ablation procedure with ICE imaging use instead of TEE use was associated with significantly improved outcomes and healthcare utilization reduction.

AFS2023-43
Uploaded File(s)

Comparison of study outcomes among the matched ICE and TEE cohort

AFS2023-44

Abstract Title: Are There Differences In P-wave Amplitude And Duration After Pulmonary Vein Isolation Performed By Radiofrequency Versus Cryoballoon?

Author: John Schanz, Jr.

Co-Author(s):

Waleed Khan, n/a - Sidney Kimmel Medical College (Thomas Jefferson University)

Daniel Frisch, MD

Behzad Pavri, MD

Sidney Kimmel Medical College (Thomas Jefferson University)

1015 Walnut St, Philadelphia, PA 19107, United States

Introduction | Objectives:
Clinical consensus suggests that radiofrequency (RF) achieves greater atrial debulking by enabling wider antral ablation compared to more ostial ablation with cryoballoon (CB) during pulmonary vein isolation (PVI). These effects may be detectable by post-ablation changes in P-wave amplitude and duration. To our knowledge, no studies have compared post-PVI changes in P-wave parameters between CB and RF, and whether these changes correlate with AF recurrence rates.

Methods:
We performed a retrospective analysis of pts with paroxysmal AF who underwent first PVI by RF or CB. Multiple P-wave parameters were measured pre- and post-PVI (Table 1). AF recurrence was defined as any atrial tachyarrhythmia lasting > 30 sec after a 3 month blanking period.

Results:
N = 115 pts (43 CB, 72 RF). Baseline characteristics including CHADS-VASc scores are shown in Table 2. The two groups were similar except for nonconventional pulmonary vein anatomy (18.6% CB vs 37.5% RF, P=0.013). Both P-wave amplitude and duration generally decreased after PVI (Table 2). All P-wave parameter changes were statistically insignificant between CB and RF groups except for ΔPwD - III (decreased by 11.1ms in CB vs increased by 2.2ms in RF, P=0.018). Clinical AF recurrences were similar in the two groups (26% CB vs 33% RF, P=0.386).

Conclusions:
CB and RF PVI induce similar changes in P-wave parameters except for P-wave duration in lead III. This isolated difference is not likely to be clinically meaningful, and our findings suggest that atrial electrical debulking, interatrial conduction changes, and clinical recurrence outcomes are similar between CB and RF.  These data confirm the clinical equivalence of these 2 commonly used modalities for PVI, with comparable debulking of the left atrium, at least as reflected in P-wave parameters.

AFS2023-44
Uploaded File(s)

Tables

AFS2023-45

Abstract Title: Usage Rates of High-Power Short Duration Technique during Radiofrequency Ablation with Active Esophageal Cooling

Author: Jacob Sherman

Co-Author(s):

Julie Cooper, MD - University of Texas Southwestern Medical Center

Westby Fisher, MD - NorthShore University Health System

Christopher Joseph, BA - University of Texas Southwestern Medical Center

Mark Metzl, MD - NorthShore University Health System

Jose Nazari, MD - NorthShore University Health System

Alex Ro, MD - NorthShore University Health System

Felix Yang, MD

Washington University in Saint Louis

1 Brookings Dr, St. Louis, MO 63130

Introduction | Objectives:
Active esophageal cooling during left atrial (LA) radiofrequency (RF) ablation is increasingly being used in place of luminal esophageal temperature (LET) monitoring. While initial studies showing safety benefits were performed using medium power posterior wall power settings, trends in RF ablation have led to an increased utilization of high power-short duration (HPSD) techniques by operators using LET monitoring.  How these trends have affected users of active esophageal cooling is uncertain. Thus, we aimed to determine the current power settings favored by users of active esophageal cooling during RF ablation.

Methods:
Electrophysiologists using active esophageal cooling in 2021 were asked to report their preferred power settings during RF ablation of the LA. Operators were surveyed either in person or over email/text. Respondents were asked specifically for settings at distinct LA sites, and particularly their preferred power for lesions placed on the posterior wall. When a range was reported, the upper end was utilized in data representation.

Results:

A total of 90 electrophysiologists, representing approximately 34.5% of the electrophysiologists currently using active esophageal cooling, were surveyed. The maximum reported posterior wall power ranged from 30 W to 50 W. The majority (39) of users reported using 50 W. Additionally, 28 users reported using 40 W, and 11 reported using 45 W (Figure 1).

Conclusions:

In this largest survey to date of users of active esophageal cooling, the majority of electrophysiologists reported utilizing HPSD when performing ablations with active esophageal cooling.

AFS2023-45
Uploaded File(s)

Survey of Operators' Maximum Power on Posterior Wall (n=90)

AFS2023-46

Abstract Title: Comparing the Accuracy of Non-Contact Mapping (NCM) Using Novel “Composite Software “ and AcQ Map Catheter to the Conventional High Definition Contact Mapping (CM) Utilizing HD Grid

Author: Usman Siddiqui, MD

Co-Author(s):

Aqeel Khanani, MS

Dhanunjay Lakkireddy, MD

Advent Health

601 E Rollins St Suite 400, Orlando, FL 32803

Introduction | Objectives:

CMs utilizing multi pole catheters to understand voltage and propagation remains standard of care. Novel “composite maps“ using multi position NCMs generated by mapping wave-fronts from 3 different directions (sinus, prox CS pacing and distal CS pacing) has been suggested as an alternative to standard contact voltage/propagation map. In addition, a “single position” map utilizing AcQ mapping catheter may help understand drivers for afib utilizing the “AcQ trac” software. There have been no previously reported studies comparing the 2 technologies. The objective is to determine the extent of agreement between cardiac maps generated via Ensite CM system utilizing HD grid and that of Acutus AcQMap’s NCM system utilizing AcQ map catheter.

Methods:

Over 18 months, cardiac mapping data on 14 patients with persistent afib was collected using EnSite system for CMs and AcQMap system for NCMs. Composite maps were generated and compared with standard contact propagation during sinus rhythm, stable atrial tachycardias, or flutter. Propagation videos were analyzed by 2 EPs for each patient in AP and PA views. Notably, 8 patients presented in afib during the procedure, allowing for comparison of single position to “fractionation” maps generated by HD grid.

Results:

14 patients (mean age: 70.4 ± 7.4 years) were mapped, generating 19 maps. The map analysis included sinus propagation map compared to composite maps utilizing NCM (12, 63%), a flutter utilizing standard HD grid mapping to supermaps utilizing AcQ map (3, 16%) and afib with fractionation map utilizing HD Grid to single position using AcQ track (4, 21%). Qualitative analysis resulted in a 95% agreement (18 of 19 mapped rhythms) in propagation mapping using CM and NCM for guiding ablation.

Conclusions:

This is the first data presented where arrhythmias and substrate are compared intra-procedurally using two different 3D Mapping modes (CM vs NCM). Qualitative analysis resulted in a 95% agreement (18 of 19 mapped rhythms). The case where correlation was not achieved displayed an abnormal substrate on an AcQ map, although propagation on the HD grid was normal, raising questions about differential specificities of the technologies.

AFS2023-46
Uploaded File(s)

Single-position utilizing "AcQ trac" (above) displaying consistent drivers, which are correlated with high fractionation zones utilizing HD grid (below)

AFS2023-47

Abstract Title: High Power Short Duration Ablation Integrated with Novel 3D Mapping and Navigation

Author: Usman Siddiqui, MD

Co-Author(s):

Jose Osorio, MD - Arrhythmia Institute at Grandview Medical Center

Paul Kessman, MSEE - CardioNXT

Joseph Brennan, BS - CardioNXT

Jordan Francis, BS

Moritoshi Funasako, MD, PhD - Na Homolce Hospital

Jan Petru, MD - Na Homolce Hospital

Petr Neuzil, MD, PhD - Na Homolce Hospital

Vivek Reddy, MD - Mount Sinai Hospital

Advent Health

601 E Rollins St Suite 400, Orlando, FL 32803

Introduction | Objectives:

High Power Short Duration RF ablation (HPSD) is an effective method to facilitate fast PVI.  The DiamondTemp (DT) catheter (Medtronic, Minneapolis, MN, USA) is able to safely administer HPSD ablation by using industrial grade diamonds to shunt energy during RF delivery.  Visualization accuracy is crucial to locate gaps if bidirectional block was not achieved.  Very few systems are able to visualize the DT Catheter.  Two of them being the iMap System (CardioNXT, Boulder, CO, USA) and Ensite Precision (Abbott, Chicago, IL, USA).  Ensite Precision does not localize the tip of the catheter thus causing up to a 1.1mm offset in the accuracy of localization.  Not localizing the tip also prevents Ensite Precision from displaying tip electrograms.  Additionally, the Precision System is being phased out, and its replacement, Ensite X, is not compatible with DT.

Objectives are to utilize a mapping system that is able to accurately localize the DT catheter in its entirety, as well as visualize ablation generator data and electrograms on one screen.

Methods:

These cases were performed as part of a pilot study (DYNALINK) to evaluate the iMap System for safety.  Feasibility to navigate the DT catheter, display ablation generator data, and display electrograms was evaluated as a secondary objective.

Results:

The iMap System navigated the DT catheter in 48 patients.  The iMap System’s seamless integration with the DT catheter allows for tracking an accurate representation of the DT catheter, including the tip electrode, while creating a lesion (Figure 1A).  If this catheter were to be shown as an ablation catheter without the tip electrode, location accuracy is decreased and appears to be further away from the created lesion (Figure 1B).  The iMap System was able to display ablation generator data in real-time from the DT generator, integrated with automatic lesion tagging where the lesion parameters are based on time and temperature (Figure 1C).  The iMap System was also able to display clean electrograms from the tip electrode during ablation (Figure 1C).

Conclusions:

The CardioNXT iMap System is the only system that can visualize DT generator data, clean electrograms, and localize the entire DT catheter.  It is also the only system that has integrated automatic lesion tagging with the DT catheter.

AFS2023-47
Uploaded File(s)

Visualization of the DiamondTemp catheter with automatic lesion tagging on CardioNXT iMap 3D Mapping and Navigation System.

AFS2023-48

Abstract Title: Reduction of Early Recurrences after PVI Through Ablation in the “Blind Spot” of Lasso-Controlled PVI

Author: Laura Stix, MD

Co-Author(s):

Dietrich Beitzke, MD

Marianne Gwechenberger, MD

Hannah Kastinger, Bsc

Joachim Kueng, Bsc

Christian Loewe, MD

Nadir Saoudi, MD, FHRS, FESC, FACC, FEHRA

Guenter Stix, MD

Elvis Tumnitz, Student

Irene Lang, MD

General Hospital Vienna

Waehringer Guertel 18-20 1090 Vienna Austria Europe

Introduction | Objectives:

A lasso in the PV-ostium is standard to verify PVI. But circumferential isolating lines are placed in the much thicker myocardium of the antrum or atrium, i.e. distant to the lasso. Therefore, a substantial part of myocardium might escape the control of the lasso.

A potential “blind spot” of the lasso was examined by separating the control of the isolation of the PVs with the lasso from the examination of the antral line with UHDM.

Methods:

Isolation of the PVs was verified with a lasso by exit-block, entry-block, negative adenosine test and unexcitability along the ablation line. Then, the area between the position of the lasso in the PV-ostium and the antral ablation line was examined using UHDM. Any electrical activity in this “blind spot” was ablated. Patients were followed for 3 months for ERs.

Results:

Lasso-verified PVI was achieved in 50 consecutive patients. UHDM also revealed isolated PVs in 100%. But residual electrical activity in the supposed “blind spot” was found in 36 patients (72%). These potentials could be traced in 12/36 patients (33%) into one region and in 24/36 patients (66%) into several regions. ERs were found in 5% of patients with paroxysmal AF and in 50% of those with persistent AF. Potential myocardial volumes of the “blind spot” were calculated using a mathematical model.

Conclusions:

UHDM is able to trace electrical potentials into a “blind spot” of lasso-verified PVI. Ablation of these residual antral potentials results in a very low ER rate in paroxysmal AF.

AFS2023-49

Abstract Title: Altered N-glycosylation of Immunoglobulin G and Total Plasma Proteins in Patients with Atrial Fibrillation

Author: Janko Szavits Nossan, PhD, MD

Co-Author(s):

Barbara Radovani, PhD - Genos Glycoscience Laboratory

Gordan lauc, PhD, Professor - Head of Laboratory, Genos Glycoscience Laboratory

Ivan Gudelj, PhD

Magdalena Clinic for Cardiovascular Disease

Ljudevita Gaja 2, 49217 Krapinske Toplice, Croatia

Introduction | Objectives:
Atrial fibrillation (AF) is the most common persistent cardiac arrhythmia, affecting more than 1% of the population. It is  characterized by rapid and disorganized atrial activation leading to impaired atrial function, with myocardial fibrosis being one of the main factors influencing the pathophysiological changes of the heart. Consequently, AF is a risk factor for embolic stroke and
worsening heart failure and has been associated with increased morbidity and mortality [1].
Significant alterations in N-glycosylation are known to occur in some cardiovascular diseases, of which alterations in 
N-glycome of immunoglobulin G (IgG) are an independent risk factor for atherosclerotic cardiovascular diseases [2-3].
Given the importance of glycosylation in cardiovascular disease and the fact that no studies of glycosylation have been performed to date in atrial fibrillation, a preliminary analysis of IgG and total plasma protein N-glycans was performed. 
The aim of this analysis was to gain insight into the status of IgG and total plasma protein N-glycans in atrial fibrillation, the possible existence of a causal relationship between the abundance of certain N-glycan structures and the degree of fibrosis, and AF recurrence after pulmonary vein isolation.

Methods:
IgG and total protein plasma N-glycans were analyzed by ultra-high performance liquid chromatography with hydrophilic interactions (HILIC-UPLC).

Results:
The results obtained indicate that altered N-glycosylation occurs in patients with AF, especially in IgG N-glycans, highlighting the importance of immunoglobulin glycosylation and the possible interaction between the immune response and pathophysiological changes in AF.

Conclusions:
Patients with atrial fibrillation have altered N-glycosylation, especially in IgG N-glycans, highlighting the possible interaction between the immune response and underlying pathophysiological changes.

AFS2023-50

Abstract Title: First experience with the novel multi-electrode radiofrequency balloon-catheter (RF-BC) for AF ablation

Author: Yannick Teumer, MD

Co-Author(s):

Andreas Hauke, medical student

Lyuboslav Katov, MD

Karolina Weinmann, MD

Carlo Bohner, MD

Walter Benjamin, MD

Martin Müller, MD

Alexander Pott, MD

Wolfgang Rottbauer, MD

Tillman Dahme, MD

Klinik für Innere Medizin II, Ulm University

Klinik für Innere Medizin II Albert-​Einstein-Allee 23 89081 Ulm Germany

Introduction | Objectives:

Pulmonary vein isolation (PVI) has become the standard of care for patients suffering from symptomatic atrial fibrillation (AF). Continuous effort for the advancement of ablation techniques is being made to minimize pulmonary vein (PV) reconnection, to reduce complications and to improve the reproducibility of the procedure in experienced and less experienced operators in a timely manner. In that regard a new modality - the multi-electrode radiofrequency balloon-catheter (RF-BC) has been developed. Currently evidence concerning efficacy and safety of this new technology is sparse.

Methods:

In our ongoing monocentric register study, patients with a first-time PVI using the RF-BC (HELIOSTAR™, Biosense Webster) have been included since September 2021. Ablation is performed under phrenic nerve (PN) and esophageal temperature (ET) monitoring. If ET is exceeding 42 degree Celsius, an esophagogastroscopy (EGD) is conducted. Follow-up visits are performed 3, 6, 12 and 24 months after ablation and in case of symptomatic recurrence.

Results:

To date, our study cohort consists of 127 individuals (age [y]: 69 ± 9.8, female: 37.8%, paroxysmal AF 63.8%, left atrial diameter [mm] 45 ± 8.3, CHA2DS2-VASc 4 ± 3, preserved ejection fraction 58.3%). Altogether 503 PVs have already been treated with a mean procedural duration (skin-to-skin) of 87 (± 35) minutes. Single-shot-isolation was possible in 80,8% of the PVs. The median number of ablations applied per patient was 5.

PN palsy was only detected in one patient with complete recovery within 48h. There was no pericardial effusion, no stroke and no fatalities. In 19 of 31 patients with ET exceedence, an EGD was performed. All 6 detected lesions resolved spontaneously without further sequelae. The Kaplan-Meier analysis showed a 6-month recurrence-free-survival of 73.0% if no blanking period is applied, and 93.2% with a 90-day blanking period.

Conclusions:

PVI using the RF-BC seems to be successful with only one application per vein in most cases. Due to the shown safety profile and effectiveness, this new modality appears very promising. However, larger studies, longer follow-up and ideally randomized controlled trials comparing the novel RF-BC to the most established PVI-modalities are needed.

AFS2023-50
Uploaded File(s)

Kaplan-Meier analysis

A

AFS2023-51

Abstract Title: Novel Temperature-Controlled Radiofrequency Diamond-Tip Ablation System to Treat Atrial Flutter: Acute Results from the DiamondTemp Global Registry

Author: Massimo Tritto, MD

Co-Author(s):

Andreas Götte, MD - St. Vincenz-Krankenhaus GmbH; Paderborn, DE

Tarv Dhanjal, MD, PhD - University Hospitals Coventry & Warwickshire; Coventry, UK

Yonandy Barrientos, MS - Medtronic, Inc.; Minneapolis, USA

Michael Getman, MS - Medtronic, Inc.; Minneapolis, USA

Fred Kueffer, MS - Medtronic, Inc.; Minneapolis, USA

Philipp Sommer, MD - Herz- und Diabeteszentrum NRW, Universitätsklinik der Ruhr-Universität Bochum, Bad Oeynhausen, DE

Humanitas Mater Domini

Humanitas Mater Domini Via Gerenzano, 2 21053 Castellanza (VA), Italy

Introduction | Objectives:
Longer-term sinus rhythm maintenance in patients with typical atrial flutter (AFL) with antiarrhythmic agents and/or cardioversion are suboptimal. Consequently, radiofrequency (RF) catheter ablation of the cavotricuspid isthmus (CTI) has become the predominant treatment for AFL. Currently, data are limited on the performance and outcomes of treating AFL with the DiamondTemp Ablation (DTA) system, a novel temperature-controlled irrigated RF system.

Methods:
The DiamondTemp Global Registry (NCT04735016) is a prospective, multicenter study to evaluate and characterize the real-world usage of the DTA system. Baseline characteristics, procedural performance, and acute outcomes were collected for patients enrolled for the treatment of typical AFL.

Results:

In total, 55 subjects indicated for de novo AFL treatment (age 66 ± 12 yrs., male 81.8%, BMI 27 ± 5, left atrial diameter 45 ± 6 mm, history of AF 36.4%, with dyspnea and palpitations as the most commonly reported symptoms) underwent CTI ablation with DTA. Fluoroscopy was the primary method of catheter visualization (94.5%). Procedure and fluoroscopy times were 49 ± 25 and 14 ± 10 minutes, respectively. Total RF applications (17 ± 11) had a mean duration of 17 ± 17 sec, mean titrated-power of 49 ± 2 W, mean temperature of 49 ± 2 °C, with 99 ± 56 ml of fluid irrigation. Acute CTI success was confirmed in 100% of patients with 2 (3.6%) adverse events, groin hematoma and atrial tachycardia prior to discharge, reported within a 7-day window from the index procedure.

Conclusions:
The DTA system demonstrated successful treatment of CTI-dependent AFL with high acute success and short procedural times in a real-world setting.