|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Disinfection method | 0 CFUs (n=37) | 1-50 CFUs (n=132) | 51-500 CFUs (n=17) | >500 CFUs (n=14) | Total (n=200) |
| UV-C light disinfection  *(% within disinfection method)* | 16 (16.0) | 66 (66.0) | 10 (10.0) | 8 (8.0) | 100 (100) |
| Endoscope Washer Disinfector (*% within disinfection method)* | 21 (21.0) | 66 (66.0) | 7 (7.0) | 6 (6.0) | 100 (100) |

Table 1: Number of flexible endoscopes (FEs) without a working channel depending on the Colony Forming Units (CFUs) count before disinfection by disinfection group.